## 00 - Recap_EN
Lot | Title | Scope (Summary) | Key Assumptions | Quantities to be Verified by Contractor | Estimated Amount (USD)
1 | Demolition & Preparation | Selective demo, haul‑off, protection, additional surveys | Work on upper floor; shafts/columns unchanged | sqm partitions/floors/ceilings removed, waste tonnage, protection scope | 143430.33
2 | Partitions & Drywall | Gypsum board partitions, butt‑joint glazing, doors | Satin anodized profiles; room acoustics per spec | sqm drywall, lf glazing, qty doors, required STC ratings | 77000
3 | Flooring | Carpet (EGE/Interface), terrazzo, wood flooring | Self‑levelling and thresholds included | sqm by finish, lf skirting, sqm self‑levelling | 134737.13
4 | Ceilings | Ceiling refurbishment, Durlum LIVA metal baffles | Perimeter gypsum band; 20 cm fascia | sqm gypsum, sqm Durlum, access panels | 15181
5 | Custom Millwork | Aluminum cladding, lockers, benches, bar, TV units, water fountain cabinet | Finishes & logos included | sqm cladding, units, shop drawings | 89400
6 | Painting & Wall Finishes | Paint RAL 9005/9016, Cascais cork, wallpaper | Substrate prep included | sqm painted, sqm cork, sqm wallpaper | 10500
7 | Electrical & Lighting | Outlets, RJ45, devices, luminaires (Clareo, TAL, etc.) | Compliance with US/NYC codes | # circuits, lf cable trays, # fixtures | 84600
8 | Kitchen & Bar | Cabinetry, stainless, GROHE, appliances | Connections included | lf millwork, # appliances | 59410
9 | Sanitary Rooms & Shower | Atlas Concorde/WOW tile, Duravit, GROHE | Waterproofing included | sqm tile, # fixtures | 49900
10 | Furniture (Excluding Millwork) | Furniture supplied by Office‑In | Delivery/assembly included | # workstations, # seats | 36800
11 | Signage & Window Film | Progressive frost + 0.5 mm lines, logos | Artwork files provided by Owner | sqm glazing, lf bands, # logos | 11000
12 | Technical Areas & Misc. | IT/Copy, bike room, racks, minor works | Includes minor anchors | sqm room, # racks, lf cladding | 21500
| Title | Formula
| Subtotal (excl. tax) | 733458.46
| Contingency (5%) | 36672.92
| Subtotal + Contingency | 770131.38
Sales Tax (if applicable)
| Total (incl. tax) | 0

## Trade 01 - Demolition
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
1.1 | Removal of solid partitions | sq m | 420 | 207.21 | 87026.13
1.2 | Removal of glazed partitions | lf | 30 | 19.25 | 577.5
1.3 | Removal of floor finishes | sq m | 573.6 | 207.21 | 118852.83
1.4 | Protection of common areas | leamp seam | 1 | 10000 | 10000
1.5 | Haul‑off & waste sorting | t | 40 | 350 | 14000

## Trade 02 - Partitions
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
2.1 | Gypsum board partitions with acoustic insulation | sq m | 420 | 75.35 | 31645.87
2.2 | Butt‑joint glazed partitions (satin anodized) | lf | 25 | 1200 | 30000
2.3 | Doors (wood / glass) | ea | 20 | 1600 | 32000
2.4 | Sealing, patching & finishes | leamp seam | 1 | 15000 | 15000

## Trade 03 - Flooring
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
3.1 | Carpet EGE Eco Rustic WT (incl. underlay & install) | sq m | 266.6 | 348.75 | 92976.85
3.2 | Carpet Interface Composure (Refuge) | sq m | 114.3 | 348.75 | 39862.17
3.3 | White terrazzo (kitchen/restrooms/showroom) | sq m | 130.1 | 348.75 | 45372.42
3.4 | Oak flooring Centuri (VIP areas) | sq m | 102.2 | 387.5 | 39602.54
3.5 | Matching skirtings (wood/aluminum) | lf | 220 | 45 | 9900

## Trade 04 - Ceilings
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
4.1 | Reboeachages après dépose des existants | sq m | 399.5 | 55 | 21972.5
4.2 | Peinteare complète dea plafond et gaines | sq m | 399.5 | 38 | 15181

## Trade 05 - Custom Millwork
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
5.1 | Wall cladding Polyrey A905 + logo | sq m | 60 | 350 | 21000
5.2 | Entry lockers (black laminate) | ea | 3 | 2800 | 8400
5.3 | Showroom bench (birch veneer) | ea | 2 | 4200 | 8400
5.4 | Water fountain cabinet (brushed aluminum) | ea | 1 | 5200 | 5200
5.5 | TV cabinets (folded aluminum) | ea | 3 | 3800 | 11400
5.6 | Bar & back‑bar (aluminum laminate + mirror backsplash) | leamp seam | 2 | 28000 | 56000

## Trade 06 - Paint & Walls
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
6.1 | Paint walls & ceilings (RAL 9016 / 9005) | sq m | 1486.4 | 32 | 47564.8
6.2 | Cork wall “Cascais” (Grotto) | sq m | 35 | 180 | 6300
6.3 | Photowall “Misty Mountains – Teal” wallpaper | sq m | 20 | 210 | 4200

## Trade 07 - Electrical & Lightin
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
7.1 | Panels/outlets, circuits, cabling, RJ45 | leamp seam | 1 | 95000 | 95000
7.2 | CLAREO luminaires (LineLED/TubuLED/Floodlight) | ea | 60 | 620 | 37200
7.3 | TAL Lighting (Twist, LedLine) | ea | 20 | 780 | 15600
7.4 | Decorative lighting (FLOS, Serge Mouille, etc.) | ea | 15 | 920 | 13800
7.5 | Installation, aiming & testing | leamp seam | 1 | 18000 | 18000

## Trade 08 - Kitchen & Bar
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
8.1 | Kitchen cabinetry (Oak Alba laminate) | lf | 24 | 1400 | 33600
8.2 | Stainless countertops & splashbacks | lf | 24 | 365 | 8760
8.3 | GROHE Supersteel faucet | ea | 1 | 650 | 650
8.4 | Appliances (DW, fridge, freezer, ice maker) | lot | 1 | 22000 | 22000
8.5 | Event bar (fabrication + integrations) | leamp seam | 1 | 28000 | 28000

## Trade 09 - Sanitary & Shower
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
9.1 | Tile Atlas Concorde / WOW | sq m | 140 | 260 | 36400
9.2 | Sanitary fixtures (Duravit, GROHE) | ea | 14 | 1850 | 25900
9.3 | Waterproofing & accessories | leamp seam | 1 | 24000 | 24000

## Trade 10 - Furniture (ex millwo
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
10.1 | Livraison dea mobilier | workstation | 50 | 1450 | 72500
10.2 | Montage dea mobilier | ea | 50 | 320 | 16000
10.3 | Installation des câbles | ea | 80 | 160 | 12800
10.4 | Retrait des emballages | ea | 1 | 8000 | 8000

## Trade 11 - Signage & Window Fil
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
11.1 | Frosted film + 0.5 mm lines | sq m | 60 | 150 | 9000
11.2 | Logos & markings (entry/GF) | ea | 5 | 2200 | 11000

## Trade 12 - Technical & Misc
Item | Description | Unit | Quantity | Unit Price (USD) | Amount (USD)
12.1 | IT/Copy – power & ventilation | leamp seam | 1 | 18000 | 18000
12.2 | Bike room (ANC tiles, paint, aluminum protection) | lot | 1 | 12000 | 12000
12.3 | Manutan racks & minor fittings | ea | 10 | 950 | 9500