## Renovation Estimate
Section | Room | Item Name | Description | Quantity | Unit Cost | Markup | Total | Confidence
Plumbing
| Both Restrooms | Plumbing Rough-In Relocation | Relocate domestic water (CWS/HWS), sanitary, and vent piping to new fixture locations per A-5 plumbing plans. Includes 4" and 3" sanitary, 1.5"-2" vents, 3/4" supply lines. | 1 LS | $16,000 per LS | 0.75 | $28,000.00 | 85
| Both Restrooms | Cap Existing Plumbing Lines | Cap all abandoned plumbing lines as required per A-5 note 2. | 1 LS | $1,400 per LS | 0.75 | $2,450.00 | 90
| Both Restrooms | Fixture Connections | Connect all new/relocated fixtures to modified piping. Supply stops, waste connections, and P-traps. Men's: 13 fixtures, Women's: 8 fixtures. | 21 EA | $350 per EA | 0.75 | $12,862.50 | 90
| Both Restrooms | Floor Drains | New interior floor drains per plumbing plan. Connect to modified sanitary system. | 4 EA | $500 per EA | 0.75 | $3,500.00 | 90
| Both Restrooms | Plumbing Testing & Commissioning | Pressure test water/waste lines, verify flow rates, flush and sanitize per Division 22. | 1 LS | $1,500 per LS | 0.75 | $2,625.00 | 90
Total | [6 empty] | $49,437.50
Electrical
| Both Restrooms | Electrical Demolition | Remove all existing wiring, receptacles, switches, conduit, lighting per Division 16050 demo requirements. | 1 LS | $3,500 per LS | 0.75 | $6,125.00 | 90
| Both Restrooms | LED 2x2 Light Fixtures | New 2x2 LED VXL 5000K fixtures for drop ceiling per A-4 note 2. Supply and install. | 12 EA | $380 per EA | 0.75 | $7,980.00 | 90
| Both Restrooms | Recessed Lights | Satco 6" 18.5W recessed lights per A-4 note 3. Supply and install at new locations. | 6 EA | $280 per EA | 0.75 | $2,940.00 | 90
| Both Restrooms | Switches & GFI Receptacles | New single pole switches, GFI receptacles for wet locations per Division 16140. Gray finish. | 12 EA | $120 per EA | 0.75 | $2,520.00 | 90
| Both Restrooms | Branch Circuit Wiring | New MC cable wiring for all lighting, receptacle, and device circuits per Division 16120. | 1 LS | $5,000 per LS | 0.75 | $8,750.00 | 90
| Both Restrooms | Sensor Faucet Power Connections | Power to automatic faucet sensors (6 total) per A-4 plan note. Dedicated circuits. | 6 EA | $280 per EA | 0.75 | $2,940.00 | 90
| Both Restrooms | Fire Alarm Device Replacement | Replace all fire protection devices (visual/audio signals) in place to match existing per A-4 note 1. | 1 LS | $2,800 per LS | 0.75 | $4,900.00 | 90
| Both Restrooms | Motion Detectors | New motion detectors per A-4 electrical plan. | 4 EA | $220 per EA | 0.75 | $1,540.00 | 85
Total | [6 empty] | $37,695.00
Allowance
| Project | Owner's Contingency Allowance | Per bid form: $7,500 allowance at Owner's discretion. Unused portion returned to Owner at completion. | 1 LS | $7,500 per LS |  | $7,500.00 | 100
Total | [6 empty] | $7,500.00
Carpentry
| Both Restrooms | Metal Stud Partition Framing | New partition walls: 2x4" 25ga galv. steel studs @16" OC, top/bottom runners per A-3 and A-6 wall detail. | 90 LF | $77 per LF | 0.75 | $12,127.50 | 90
| Both Restrooms | Plumbing Wall Framing | New 2x6" staggered metal studs for 8" plumbing walls to conceal supply/waste per A-3 note. | 25 LF | $95 per LF | 0.75 | $4,156.25 | 85
| Both Restrooms | Moisture-Resistant Drywall | 1/2" Gold Bond Purple XP Mold drywall on all new and replacement walls, both sides. Taped, spackled, and prepared per A-6. | 1400 SF | $6.50 per SF | 0.75 | $15,925.00 | 90
| Men's Restroom 201 | Millwork Counter | 3/4" particle board substrate with solid surface top (light grey), integral bowl, plastic laminate finish, 4" backsplash and sidesplash, removable cover panel per A-6 millwork detail. | 1 UNIT | $4,500 per UNIT | 0.75 | $7,875.00 | 85
| Women's Restroom 202 | Millwork Counter | 3/4" particle board substrate with solid surface top (light grey), integral bowl, plastic laminate finish, 4" backsplash and sidesplash per A-6 millwork detail. | 1 UNIT | $4,500 per UNIT | 0.75 | $7,875.00 | 85
| Both Restrooms | Sound Attenuation Insulation | 3" sound attenuation insulation in partition walls per A-6 typical wall detail. | 700 SF | $3 per SF | 0.75 | $3,675.00 | 85
| Both Restrooms | Blocking & Backing | Wood blocking for grab bars, accessories, fixtures, and partition support. Continuous blocking per A-6. | 1 LS | $1,400 per LS | 0.75 | $2,450.00 | 85
Total | [6 empty] | $54,083.75
Finishes
| Both Restrooms | Epoxy Floor Coating | Sherwin Williams Industrial High Performance Epoxy. Primer + 2 coats. Color: Lawn. Per A-6 room finish schedule. | 400 SF | $10 per SF | 0.75 | $7,000.00 | 90
| Both Restrooms | Epoxy Floor Patching | Fill cracks and spalls with epoxy patching compound or epoxy mortar. Grind repairs flush after cure per A-6 note 4. | 1 LS | $1,500 per LS | 0.75 | $2,625.00 | 85
| Both Restrooms | Epoxy Cove Base | 6" form epoxy cove base, cove mix hand-troweled to form 1" radius per A-6 note 5. Color: Canary. | 200 LF | $8 per LF | 0.75 | $2,800.00 | 85
| Both Restrooms | Epoxy Wall Coating | Sherwin Williams Tile Clad High Solids Epoxy on all walls. Clean, sand, spot prime, 1-2 coats. Color: Canary. Per A-6. | 1200 SF | $6 per SF | 0.75 | $12,600.00 | 90
| Both Restrooms | Ceiling Tile - ACT | 2x2 Armstrong Optima Health Zone ACT or DuraClean Smooth White (waterproof) per A-4 note 4 and A-5 note 3. | 400 SF | $6 per SF | 0.75 | $4,200.00 | 90
| Both Restrooms | Ceiling Grid System | New 2x2 suspension grid system for ACT tiles. 8'-0" ceiling height per A-3. | 400 SF | $4 per SF | 0.75 | $2,800.00 | 90
| Both Restrooms | Caulking & Sealant | Butyl sealant, silicone sealant, and acrylic caulk at all joints per Division 07920. Includes counter-to-wall, fixture-to-wall, penetration sealing, and polyethylene foam backer rod. | 1 LS | $1,200 per LS | 0.75 | $2,100.00 | 90
Total | [6 empty] | $34,125.00
Fixtures
| Men's Restroom 201 | Water Closets | Floor-mounted vitreous china WCs, ADA/I-1 compliant per A-6 mark 1. Supply and install. | 3 EA | $850 per EA | 0.75 | $4,462.50 | 90
| Men's Restroom 201 | Urinals | Wall-mounted commercial urinals per A-6 mark 7. Supply and install. | 3 EA | $700 per EA | 0.75 | $3,675.00 | 90
| Men's Restroom 201 | Standard Lavatories | Wall-mounted or undermount solid surface lavatories (Nantucket or equiv.) per A-6 mark 8. | 2 EA | $600 per EA | 0.75 | $2,100.00 | 90
| Men's Restroom 201 | ADA Lavatory | Wall-mounted ADA compliant lavatory per A-6 mark 9. | 1 EA | $700 per EA | 0.75 | $1,225.00 | 90
| Men's Restroom 201 | Shower Stations | 3'-0" x 3'-0" institutional fiberglass/solid surface shower pans + shower curtains + thermostatic mixing valve (ASSE 1017) + institutional shower head per A-6 marks 5, 6, 13. | 3 EA | $1,200 per EA | 0.75 | $6,300.00 | 85
| Men's Restroom 201 | Mirrors | 24"x36" Bobrick B-2111 mirrors per A-6 mark 11. | 3 EA | $275 per EA | 0.75 | $1,443.75 | 90
| Men's Restroom 201 | Grab Bars | 18", 36", and 42" Bobrick B-2888 grab bars for ADA stall per A-6 mark 4. | 1 SET | $900 per SET | 0.75 | $1,575.00 | 90
| Men's Restroom 201 | Toilet Accessories | Toilet tissue dispensers, soap dispensers (Bobrick) per A-6 mark 2. | 1 LS | $650 per LS | 0.75 | $1,137.50 | 90
| Men's Restroom 201 | Hand Dryer | Dyson V Blade electric hand dryer per A-6 equipment schedule. | 1 EA | $1,300 per EA | 0.75 | $2,275.00 | 90
| Men's Restroom 201 | Automatic Sensor Faucets | Deck-mounted automatic sensor faucets, vandal-resistant per A-6 mark 14. | 3 EA | $480 per EA | 0.75 | $2,520.00 | 90
| Women's Restroom 202 | Water Closets | Floor-mounted vitreous china WCs, ADA/I-1 compliant per A-6 mark 1. Supply and install. | 3 EA | $850 per EA | 0.75 | $4,462.50 | 90
| Women's Restroom 202 | Standard Lavatories | Wall-mounted or undermount solid surface lavatories (Nantucket or equiv.) per A-6 mark 8. | 1 EA | $600 per EA | 0.75 | $1,050.00 | 90
| Women's Restroom 202 | ADA Lavatory | Wall-mounted ADA compliant lavatory per A-6 mark 9. | 1 EA | $700 per EA | 0.75 | $1,225.00 | 90
| Women's Restroom 202 | Shower Stations | 3'-0" x 3'-0" institutional shower pans + curtains + thermostatic mixing valve (ASSE 1017) + shower head per A-6 marks 5, 6, 13. | 2 EA | $1,200 per EA | 0.75 | $4,200.00 | 85
| Women's Restroom 202 | Mirrors | 24"x36" Bobrick B-2111 mirrors per A-6 mark 11. | 3 EA | $275 per EA | 0.75 | $1,443.75 | 90
| Women's Restroom 202 | Grab Bars | 18", 36", and 42" Bobrick B-2888 grab bars for ADA stall per A-6 mark 4. | 1 SET | $900 per SET | 0.75 | $1,575.00 | 90
| Women's Restroom 202 | Toilet Accessories | Toilet tissue dispensers, soap dispensers (Bobrick) per A-6 mark 2. | 1 LS | $650 per LS | 0.75 | $1,137.50 | 90
| Women's Restroom 202 | Hand Dryer | Dyson V Blade electric hand dryer per A-6 equipment schedule. | 1 EA | $1,300 per EA | 0.75 | $2,275.00 | 90
| Women's Restroom 202 | Automatic Sensor Faucets | Deck-mounted automatic sensor faucets, vandal-resistant per A-6 mark 14. | 3 EA | $480 per EA | 0.75 | $2,520.00 | 90
Total | [6 empty] | $46,602.50
General Construction
| Both Restrooms | Selective Demolition | Full removal of all WCs, urinals, lavatories, counters, accessories, toilet partitions, ceiling tiles, existing drywall/epoxy wall finish per A-2 demo plans. | 400 SF | $18 per SF | 0.75 | $12,600.00 | 95
| Both Restrooms | Floor Grinding & Preparation | Diamond grind or shot blast existing epoxy floors to CSP-2/CSP-3 profile per spec. HEPA vacuum dust. | 400 SF | $6 per SF | 0.75 | $4,200.00 | 90
| Both Restrooms | Dust Containment & Protection | Temporary 0.06 mil poly barriers, dust suppression plan, protection of occupied building per Division 02070. | 1 LS | $2,200 per LS | 0.75 | $3,850.00 | 90
| Both Restrooms | Debris Removal & Dumpster | Daily debris removal throughout 60-day project. Containerized disposal per Division 01710. | 1 LS | $3,000 per LS | 0.75 | $5,250.00 | 90
| Both Restrooms | Permits & Inspections | Building, plumbing, and electrical permits from agencies having jurisdiction per Division 00010. | 1 LS | $2,500 per LS | 0.75 | $4,375.00 | 95
| Both Restrooms | Post-Construction Cleaning | Final cleaning per Division 01710. Clean all surfaces, glass, mirrors, fixtures. Remove all construction debris. | 1 LS | $1,500 per LS | 0.75 | $2,625.00 | 90
| Both Restrooms | Door Hardware Replacement | Replace all restroom door hardware (2 doors) to match existing per A-6 mark 12. | 2 EA | $450 per EA | 0.75 | $1,575.00 | 90
| Both Restrooms | Temporary Facilities | Temp electric, water, toilets, walkways, fencing, signage per Division 01501 for 60-day project. | 1 LS | $3,500 per LS | 0.75 | $6,125.00 | 85
Total | [6 empty] | $40,600.00
HVAC
| Both Restrooms | Ductwork Modifications | Modify existing supply, return, and exhaust ductwork for new ceiling layout per A-5 HVAC plan and Division 23. | 1 LS | $5,000 per LS | 0.75 | $8,750.00 | 85
| Both Restrooms | Supply/Return Registers & Diffusers | New aluminum/steel registers, grilles, and diffusers with balancing dampers per Division 23. Match existing type. | 10 EA | $220 per EA | 0.75 | $3,850.00 | 85
| Both Restrooms | Airflow Testing & Balancing | Perform airflow testing per ASHRAE Std 111. Adjust dampers/registers. Written test report to Owner. | 1 LS | $1,500 per LS | 0.75 | $2,625.00 | 90
| Both Restrooms | Access Panels | Minimum 24"x24" access panels at modified ductwork and plumbing per Division 23. | 4 EA | $200 per EA | 0.75 | $1,400.00 | 90
Total | [6 empty] | $16,625.00
Partitions
| Both Restrooms | WC/Urinal Partitions | 7 commercial-grade toilet/urinal partitions with pilasters, panels, doors, and hardware per A-6 mark 7. Heavy-duty phenolic or HDPE. | 7 EA | $2,100 per EA | 0.75 | $25,725.00 | 90
Total | [6 empty] | $25,725.00
Overall Subtotal | [6 empty] | $312,393.75
General Conditions (10%) | [6 empty] | $31,239.38
GRAND TOTAL | [6 empty] | $343,633.12