## Renovation Estimate
Section | Room | Item Name | Description | Quantity | Unit Cost | Markup | Total | Confidence
Backsplash
| Kitchen | Kitchen Backsplash | Tile preparation, tile installation, grout installation, tile sealing, trim tiles. | 10 FT | $1,650 per 10 FT | 0.8 | $2,970.00 | 95
Total | [6 empty] | $2,970.00
Cabinetry & Storage
| Kitchen | Kitchen Cabinets | Installation of base and wall cabinets, crown molding, cabinet hardware, soft-close hinges, drawer slides. | 11 LF | $850 per LF | 0.75 | $16,362.50 | 95
Total | [6 empty] | $16,362.50
Countertops
| Kitchen | Kitchen Countertops | Fabricate and install quartz countertops. | 45 SF | $97 per SF | 0.75 | $13,763.75 | 95
Total | [6 empty] | $13,763.75
Demolition
| Bathroom 1 | Bathroom Demolition | Full gut of bathroom including removal of old fixtures, tile, vanity, flooring, and debris removal. | 1 UNIT | $2,200 per UNIT | 0.75 | $3,850.00 | 95
| Bathroom 2 | Bathroom Demolition | Remove old fixtures, tile, vanity, flooring, and debris. | 1 UNIT | $2,200 per UNIT | 0.75 | $3,850.00 | 95
| Kitchen | Kitchen Demolition | Full gut of kitchen including removal of cabinets, countertops, appliances, flooring, backsplash, electrical disconnection, plumbing disconnection, debris removal, and protection of adjacent areas. | 276 SF | $7 per SF | 0.75 | $3,387.00 | 95
| Entry/Hallway | Entry Flooring | Subfloor preparation, flooring installation, transition strips. | 60 SF | $6 per SF | 0.75 | $630.00 | 95
Total | [6 empty] | $11,717.00
Doors
| Entire Apartment | Replace All Doors | Replace all interior doors with standard prehung doors. | 8 UNIT | $550 per UNIT | 0.75 | $7,700.00 | 90
Total | [6 empty] | $7,700.00
Electrical
| Bathroom 1 | Bathroom Electrical | Rough electrical, vanity lighting, exhaust fan installation, GFCI outlets, switch installation, mirror lighting, heated floor electrical. | 1 UNIT | $3,500 per UNIT | 0.75 | $6,125.00 | 95
| Bathroom 2 | Bathroom Electrical | Installation of bathroom electrical including vanity lighting and GFCI outlets. | 1 UNIT | $3,500 minimum | 0.75 | $6,125.00 | 90
| Kitchen | Kitchen Electrical | Rewiring and installation of kitchen electrical including outlets, GFCI, and lighting. | 1 UNIT | $3,500 minimum | 0.75 | $6,125.00 | 90
| Bedroom 1 | Bedroom Electrical | Outlet installation, switch installation, light fixtures, ceiling fans, closet lighting, bedside outlets, USB outlets. | 1 UNIT | $3,500 per UNIT | 0.75 | $6,125.00 | 95
| Entry/Hallway | Entry Electrical | Outlet installation, switch installation, light fixture installation. | 1 UNIT | $3,500 per UNIT | 0.75 | $6,125.00 | 95
| Living Room | Living Room Electrical | Outlet installation, switch installation, light fixture installation, ceiling fans, dimmer switches, floor outlets, wall sconces. | 1 UNIT | $3,500 per UNIT | 0.75 | $6,125.00 | 95
| Bedroom 2 | Bedroom Electrical | Installation of outlets, switches, and light fixtures. | 1 UNIT | $3,500 minimum | 0.75 | $6,125.00 | 90
| Bedroom 1 | Recessed lighting installation | Install 4 recessed LED lights incl. wiring, switching, and trims | 4 EA | $275 per EA | 0.75 | $1,925.00 | 95
| Bedroom 1 | Pendant lighting installation | Install 1 pendant light incl. box, support, and connection | 1 EA | $550 per EA | 0.75 | $962.50 | 95
| Bedroom 2 | Recessed lighting installation | Install 4 recessed LED lights incl. wiring, switching, and trims | 4 EA | $275 per EA | 0.75 | $1,925.00 | 95
| Bedroom 2 | Pendant lighting installation | Install 1 pendant light incl. box, support, and connection | 1 EA | $550 per EA | 0.75 | $962.50 | 95
Total | [6 empty] | $48,650.00
Flooring
| Kitchen | Kitchen Flooring | Install new engineered flooring, approximately 100 square feet. | 100 SF | $6 per SF | 0.75 | $1,050.00 | 90
| Bedroom 1 | Floor Refinishing | Sand and refinish existing wood flooring. | 189.5 SF | $5 per SF | 0.75 | $1,657.81 | 90
| Living Room | Living Room Flooring | Install new hardwood flooring, approximately 244.5 square feet. | 244.5 SF | $6 per SF | 0.75 | $2,568.75 | 90
| Bedroom 2 | Floor Refinishing | Sand and refinish existing wood flooring in Bedroom 2. | 110.6 SF | $5 per SF | 0.75 | $968.25 | 90
Total | [6 empty] | $6,244.81
General Requirements
| Entire Apartment | Commercial Cleaning | Post-construction cleaning for entire apartment. | 1 UNIT | $1,925 per UNIT | 0.75 | $3,368.75 | 95
Total | [6 empty] | $3,368.75
Painting & Wall Coverings
| Entire Apartment | Repaint Apartment | Repaint entire apartment including walls and ceilings. | 983.6 SF | $10.3 per SF | 0.75 | $17,723.55 | 90
Total | [6 empty] | $17,723.55
Plumbing
| Bathroom 1 | Tub to Shower Conversion | Convert existing tub to a standing shower. | 1 UNIT | $1,375 per UNIT | 0.75 | $2,406.25 | 95
| Bathroom 2 | Bathroom Plumbing | Rough plumbing, toilet installation, sink installation, shower/tub installation, supply lines, drain lines, vent lines. | 1 UNIT | $7,700 per UNIT | 0.75 | $13,475.00 | 95
| Kitchen | Kitchen Plumbing | Full gut plumbing for existing location with 1 sink. | 1 UNIT | $3,850 per UNIT | 0.75 | $6,737.50 | 95
| Bathroom 1 | Wall-mounted toilet installation | Install wall-mounted toilet with concealed carrier; connect supply and waste | 1 UNIT | $2,200 per UNIT | 0.75 | $3,850.00 | 95
| Bathroom 2 | Shower to Tub conversion | Convert shower to tub including drain relocation and supply adjustments | 1 UNIT | $4,400 per UNIT | 0.75 | $7,700.00 | 90
| Bathroom 2 | Wall-mounted toilet installation | Install wall-mounted toilet with concealed carrier; connect supply and waste | 1 UNIT | $2,200 per UNIT | 0.75 | $3,850.00 | 95
Total | [6 empty] | $38,018.75
Tile
| Bathroom 1 | Bathroom Tile Work | Floor tile preparation, floor tile installation, wall tile installation, shower tile, grout installation, tile sealing. | 60 SF | $2,600 per 60 SF | 0.8 | $4,680.00 | 95
| Bathroom 2 | Bathroom Tile Work | Installation of bathroom floor and wall tiles. | 34 SF | $2,600 per SF | 0.8 | $4,680.00 | 95
Total | [6 empty] | $9,360.00
Trims
| Entire Apartment | Replace All Baseboards | Replace all baseboards throughout the apartment. | 983.6 LF | $5 per LF | 0.75 | $8,606.50 | 90
Total | [6 empty] | $8,606.50
Walls & Ceiling
| Bathroom 1 | Wall-to-Wall Mirror Installation | Install a wall-to-wall mirror. | 1 UNIT | $1,200 per UNIT | 0.75 | $2,100.00 | 85
| Bedroom 1 | Dropped Ceiling Installation | Install new dropped ceiling in Bedroom 1. | 189.5 SF | $9 per SF | 0.75 | $2,986.88 | 90
| Living Room | Dropped Ceiling Installation | Install new dropped ceiling in the living room. | 244.5 SF | $9 per SF | 0.75 | $3,850.88 | 90
| Bedroom 2 | Dropped Ceiling Installation | Install new dropped ceiling in Bedroom 2. | 110.6 SF | $9 per SF | 0.75 | $1,742.63 | 90
Total | [6 empty] | $10,680.39
Overall Subtotal | [6 empty] | $195,166.00
General Conditions (10%) | [6 empty] | $19,516.60
GRAND TOTAL | [6 empty] | $214,682.60