## Renovation Estimate
Section | Room | Item Name | Description | Quantity | Unit Cost | Markup | Total | Confidence
Backsplash
| Kitchen | Kitchen Backsplash | Tile preparation, installation, grouting, and sealing. | 10 LF | $2,200 per UNIT | 0.00 | $2,200.00 | 90
Total | [6 empty] | $2,200.00
Cabinetry & Storage
| Kitchen | Kitchen Cabinets | Install base and wall cabinets, crown molding, cabinet hardware, soft-close hinges, and drawer slides. | 10 LF | $7,600 per UNIT | 0.00 | $7,600.00 | 90
| Master Bedroom | Master Closet Relocation | Move master closet to new location in extension. New closet construction and organization systems. | 1 UNIT | $5,500 per UNIT | 0.00 | $5,500.00 | 90
| Garage | Garage Closet Installation | Install closet/storage in garage area (drop zone). | 1 UNIT | $1,650 per UNIT | 0.00 | $1,650.00 | 85
Total | [6 empty] | $14,750.00
Electrical
| Kitchen | Kitchen Electrical | Install rough electrical, lighting circuits, under-cabinet lighting, GFCI outlets, switches, and panel upgrades. | 1 UNIT | $3,500 per UNIT | 0.00 | $3,500.00 | 90
| Bathroom 1 | Electrical Work | Installation of GFCI outlets, lighting fixtures, and exhaust fan. | 1 UNIT | $3,500 minimum | 0.00 | $3,500.00 | 90
| Living Room | Electrical Work | Installation of outlets, switches, and light fixtures. | 1 UNIT | $3,500 minimum | 0.00 | $3,500.00 | 90
| Extension | Electrical for Extension | Electrical work for new extension spaces - outlets, switches, lighting. | 448 SF | $8 per SF | 0.00 | $3,584.00 | 90
| Master Bathroom | Master Bathroom Electrical | Update electrical for master bathroom - lighting, fixtures, and outlets. | 1 UNIT | $3,500 per UNIT | 0.00 | $3,500.00 | 90
| Common Bathroom | Common Bathroom Electrical | Update electrical for common bathroom - lighting, fixtures, and outlets. | 1 UNIT | $3,500 per UNIT | 0.00 | $3,500.00 | 90
Total | [6 empty] | $21,084.00
Countertops
| Kitchen | Kitchen Countertops | Template creation, fabrication, and installation of countertops with edge treatments and sink cutouts. | 45 SF | Special Formula | 0.00 | $5,005.00 | 95
Total | [6 empty] | $5,005.00
Demolition
| Bathroom 1 | Full Gut Demolition | Complete removal of existing fixtures, tile, and finishes in the bathroom. | 42 SF | $2,200 per unit | 0.00 | $2,200.00 | 95
| Kitchen | Kitchen Demolition | Remove existing cabinets, countertops, appliances, flooring, and backsplash. Disconnect electrical and plumbing. Protect adjacent areas. | 10 LF | $3,300 per UNIT | 0.00 | $3,300.00 | 90
| Living Room | Chimney Removal | Remove existing chimney (full height), structural work, and roof patching. | 1 UNIT | $5,500 per UNIT | 0.00 | $5,500.00 | 95
| Garage | Garage Wall Removal | Remove wall to create open space between garage and living area. Structural modifications. | 1 UNIT | $2,200 per UNIT | 0.00 | $2,200.00 | 90
| Master Bathroom | Master Bathroom Demolition | Remove existing tub, fixtures, tile, and finishes for master bathroom renovation. | 1 UNIT | $2,200 per UNIT | 0.00 | $2,200.00 | 95
| Common Bathroom | Common Bathroom Demolition | Remove existing tub, fixtures, tile, and finishes for common bathroom renovation. | 1 UNIT | $2,200 per UNIT | 0.00 | $2,200.00 | 95
Total | [6 empty] | $17,600.00
Flooring
| Kitchen | Flooring Installation | Install new hardwood flooring throughout the kitchen. | 150 SF | $6 per SF | 0.00 | $900.00 | 85
| Living Room | Flooring Installation | Installation of new hardwood flooring. | 620 SF | $6 per SF | 0.00 | $6,200.00 | 95
| Extension | Flooring for Extension | Install hardwood flooring in new extension spaces to match existing. | 448 SF | $6 per SF | 0.00 | $2,688.00 | 90
Total | [6 empty] | $9,788.00
General Requirements
| Entire House | Post-Construction Cleaning | Comprehensive cleaning of all renovated areas. | 1 UNIT | $2,750 | 0.00 | $2,750.00 | 95
Total | [6 empty] | $2,750.00
Painting & Wall Coverings
| Bedroom | Bedroom Painting | Wall preparation, primer application, paint walls, and ceiling. | 200 SF | $10.3 per SF | 0.00 | $2,061.43 | 90
| Entire House | Full House Painting | Paint entire house interior (walls and ceilings) as mentioned in transcript. | 2500 SF | $4.5 per SF | 0.00 | $11,250.00 | 90
Total | [6 empty] | $13,311.43
Plumbing
| Bathroom 1 | Plumbing Rough-In | Rough plumbing for new bathroom layout including toilet, vanity, and shower. | 1 UNIT | $8,800 per unit | 0.00 | $8,800.00 | 95
| Kitchen | Kitchen Plumbing | Install rough plumbing, kitchen sink, garbage disposal, water supply lines, drain lines, and shut-off valves. | 1 UNIT | $3,850 per UNIT | 0.00 | $3,850.00 | 90
| Master Closet | Laundry Relocation | Move washer-dryer from current location to master closet area. Plumbing and electrical connections. | 1 UNIT | $2,200 per UNIT | 0.00 | $2,200.00 | 90
| Master Bathroom | Tub to Shower Conversion | Remove existing tub and convert to full stand-in shower. Extend shower area, install new fixtures and plumbing. | 1 UNIT | $7,700 per UNIT | 0.00 | $7,700.00 | 95
| Common Bathroom | Tub to Shower Conversion | Remove existing tub and install family shower. Convert tub to walk-in shower for accessibility. | 1 UNIT | $7,700 per UNIT | 0.00 | $7,700.00 | 95
Total | [6 empty] | $30,250.00
Tile
| Bathroom 1 | Tile Installation | Installation of floor and wall tiles in the bathroom. | 42 SF | $2,600 per unit | 0.00 | $2,600.00 | 95
| Master Bathroom | Master Bathroom Tile Work | Install new tile for shower walls and floor. Complete bathroom tile renovation. | 120 SF | $2,600 per UNIT | 0.00 | $2,600.00 | 95
| Common Bathroom | Common Bathroom Tile Work | Install new tile for shower and floor. Complete bathroom tile renovation. | 80 SF | $2,600 per UNIT | 0.00 | $2,080.00 | 95
Total | [6 empty] | $7,280.00
Trims
| Living Room | Trim Installation | Installation of baseboards and crown molding. | 136 LF | $5 per LF | 0.00 | $700.00 | 85
Total | [6 empty] | $700.00
Waterproofing
| Bathroom 1 | Waterproofing | Installation of waterproofing membrane on floors and walls. | 42 SF | $1,900 per unit | 0.00 | $1,900.00 | 95
| Master Bathroom | Master Bathroom Waterproofing | Install waterproofing membrane for master bathroom shower. | 60 SF | $1,900 per UNIT | 0.00 | $1,900.00 | 90
| Common Bathroom | Common Bathroom Waterproofing | Install waterproofing membrane for common bathroom shower. | 50 SF | $1,900 per UNIT | 0.00 | $1,900.00 | 90
Total | [6 empty] | $5,700.00
Structural & Framing
| Extension | Home Extension - Foundation & Framing | 16x28 home extension (448 SF total) - Foundation work, framing, structural work for first and second floor extension. | 448 SF | $150 per SF | 0.00 | $67,200.00 | 95
Total | [6 empty] | $67,200.00
Roofing
| Extension | Roofing for Extension | Install new roof for extension area, match existing roof style and materials. | 448 SF | $12 per SF | 0.00 | $5,376.00 | 95
Total | [6 empty] | $5,376.00
Siding & Exterior
| Extension | Siding for Extension | Install siding to match existing home exterior for extension. | 600 SF | $8 per SF | 0.00 | $4,800.00 | 90
Total | [6 empty] | $4,800.00
Windows
| Extension | Window Installation | Install 5 new windows for extension (including bay window). | 5 UNIT | $1,200 per UNIT | 0.00 | $6,000.00 | 95
Total | [6 empty] | $6,000.00
HVAC
| Entire House | HVAC System Upgrade | Convert single zone to two zone system. Install new HVAC unit for second floor in attic. Ductwork modifications. | 1 UNIT | $12,000 per UNIT | 0.00 | $12,000.00 | 95
Total | [6 empty] | $12,000.00
Solar
| Roof | Solar Panel Removal and Reinstallation | Remove existing solar panels and reinstall on new roof extension. Electrical connections. | 1 UNIT | $4,500 per UNIT | 0.00 | $4,500.00 | 95
Total | [6 empty] | $4,500.00
Deck & Exterior
| Exterior | Deck Extension | Extend existing deck, move deck door, new deck framing and structure. | 200 SF | $25 per SF | 0.00 | $5,000.00 | 90
Total | [6 empty] | $5,000.00
Drywall & Insulation
| Extension | Drywall and Insulation for Extension | Install insulation, drywall, and finishing for extension spaces. | 1200 SF | $4.5 per SF | 0.00 | $6,750.00 | 90
Total | [6 empty] | $6,750.00
Overall Subtotal | [6 empty] | $242,044.43
General Conditions (10%) | [6 empty] | $24,204.44
GRAND TOTAL | [6 empty] | $266,248.87