## Renovation Estimate
Section | Room | Item Name | Description | Quantity | Unit Cost | Markup | Total | Confidence
Demolition
| General | Pre-construction site preparation | Pre-construction site preparation -Protect and seal entry doors, grilles, and other openings at the house. -Set up zipper walls and containments to | 1 UNIT | $2,000 per UNIT | 0.75 | $3,500.00 | 95
| General | Demolition of existing structures | Existing House -Demolition and removal of existing siding, trim, and sheathing at the existing wall where the new extension will connect. -Demolitio | 430 SF | $7 per SF | 0.75 | $5,267.50 | 95
| General | Demolition of existing structures | 1st Floor - Existing Powder Room -Demolition of powder room tiles, vanity, medicine cabinet, toilet, and fixtures. -Demolition and removal of plumbi | 1 UNIT | $1,375 per UNIT | 0.75 | $2,406.25 | 95
| General | Demolition of existing structures | 1st Floor - Existing Laundry Room -Demolition of tiles, shelves, cabinets, appliances, and fixtures. -Demolition and removal of plumbing water and w | 1 UNIT | $2,200 per UNIT | 0.75 | $3,850.00 | 95
| General | Demolition of existing structures | 2nd Floor - Primary Bathroom -Demolition of bathroom tiles, vanity, medicine cabinet, toilet, and fixtures. -Demolition and removal of plumbing wate | 1 UNIT | $2,200 per UNIT | 0.75 | $3,850.00 | 95
| General | Demolition of existing structures | 2nd Floor - Second Bathroom -Demolition and removal of the tub. *Debris removal and disposal included | 1 UNIT | $1,375 per UNIT | 0.75 | $2,406.25 | 95
| General | Demolition of existing structures | 2nd Floor - Existing Walk-In Closet -Demolition of shelves, cabinets, and other millworks. -Demolition of wall substrates back to framing. *Debris | 1 UNIT | $1,375 per UNIT | 0.75 | $2,406.25 | 95
| General | Excavation, grading, and backfilling | New Extension Area (Approx. 430 SF) -Strip and remove surface vegetation and topsoil within the new addition footprint. -Excavate to required subgra | 1 UNIT | $2,000 per UNIT | 0.75 | $3,500.00 | 95
Total | [6 empty] | $27,186.25
Electrical
| General | Electrical | New Extension Area -Supply and install (10) new outlets throughout the new extension area as per code requirements at new locations. -Install (6) ne | 430 SF | $8 per SF | 0.75 | $6,020.00 | 95
| General | Electrical | 1st Floor - New Bathroom -Supply and install (1) new GFI outlet in the bathroom as per code requirements at new location. -Install (2) new light fix | 1 UNIT | $3,500 per UNIT | 0.75 | $6,125.00 | 95
| General | Electrical | 2nd Floor - Primary Bathroom -Supply and install (2) new GFI outlet in the bathroom as per code requirements at existing location. -Install (2) new | 1 UNIT | $3,500 per UNIT | 0.75 | $6,125.00 | 95
| General | Electrical | 2nd Floor - New Laundry Room -Supply and Install new dedicated lines for the washer dryer in the new laundry room at new locations. -Supply and Inst | 1 UNIT | $3,500 per UNIT | 0.75 | $6,125.00 | 95
Total | [6 empty] | $24,395.00
Drywall & Insulation
| General | New Interior Partition Walls Installation | 1st & 2nd Floor New Extension Area -Frame all interior partition walls with 2ֳ—4 studs at 16" OC, including top and bottom plates, blocking, and fram | 860 SF | $8 per SF | 0.75 | $12,040.00 | 95
| General | New Ceiling Installation | 1st & 2nd Floor New Extension Area -Supply and install ceiling framing using 2x8 or 2x10 joists at 16" on center as per code requirements. -Supply a | 860 SF | $8 per SF | 0.75 | $12,040.00 | 95
| General | Mold Resistant Drywall Installation | 1st Floor - New Bathroom -Supply and Install water-resistant sheetrock on bathroom walls. *Tape, plaster, sand and prepare walls to the above spaces | 1 UNIT | $1,225 per UNIT | 0.75 | $2,143.75 | 95
| General | Mold Resistant Drywall Installation | 2nd Floor - Primary Bathroom -Supply and Install water-resistant sheetrock on bathroom walls. *Tape, plaster, sand and prepare walls to the above sp | 1 UNIT | $1,225 per UNIT | 0.75 | $2,143.75 | 95
| General | Mold Resistant Drywall Installation | 2nd Floor - New Laundry Room -Supply and Install water-resistant sheetrock on new laundry room walls. *Tape, plaster, sand and prepare walls to the | 1 UNIT | $1,225 per UNIT | 0.75 | $2,143.75 | 95
Total | [6 empty] | $30,511.25
Doors
| General | New Doors Installation | New Extension Area -Installation of (5) new standard interior doors, door frames, and door trims at new locations as per proposed plan. -Installatio | 8 UNIT | $550 per UNIT | 0.75 | $7,700.00 | 95
Total | [6 empty] | $7,700.00
Flooring
| General | 2nd Floor Extension Flooring Installation | 2nd Floor New Extension Area -Supply and install engineered floor joist system throughout the new 2nd floor extension. -Supply and install all requi | 430 SF | $6 per SF | 0.75 | $4,515.00 | 95
| General | 1st Floor Extension Flooring Finish | 1st Floor New Extension Area -Supply and install vapor barrier on the slab on grade throughout the new 1st floor extension area. -Supply and install | 1050 SF | $6 per SF | 0.75 | $11,025.00 | 95
| General | Tile floor installation | 2nd Floor - New Laundry Room -Prepare the subfloor, ensuring it is suitable for tile installation. -Installation of new floor tiles throughout the n | 1 UNIT | $2,000 per UNIT | 0.8 | $3,600.00 | 95
Total | [6 empty] | $19,140.00
HVAC
| General | New HVAC System Installation | New Extension Area -Supply and install one new HVAC system to serve the first floor, and the basement. -Supply and install R-8 insulated ductwork to | 1 UNIT | $12,000 per UNIT | 0.75 | $21,000.00 | 95
Total | [6 empty] | $21,000.00
Trims
| General | New Baseboards Installation | New Extension Area -Supply and install new baseboards throughout the 1st floor, including the 1st floor new extension area. -Supply and install new | 300 LF | $5 per LF | 0.75 | $2,625.00 | 95
| General | New Crown Moldings Installation | New Extension Area -Supply and install new crown moldings throughout the new 1st and 2nd floor extension area to match the existing.ֲ *Crown moldin | 860 LF | $9 per LF | 0.75 | $13,545.00 | 95
Total | [6 empty] | $16,170.00
Painting & Wall Coverings
| General | Painting | General Areas -Supply and apply 1 coat of primer and 2 coats of paint on walls, ceiling, frames, and doors throughout the house, including the baseme | 3000 SF | $4 per SF | 0.75 | $23,625.00 | 95
Total | [6 empty] | $23,625.00
Interior Design Services
| General | Interior Design Fee | Comprehensive design and material specification services, including finishes, fixtures, and element selections, as well as final renderings and constr | 1 UNIT | $5,000 per UNIT | 0.75 | $8,750.00 | 95
Total | [6 empty] | $8,750.00
Plumbing
| 1st Floor - New Bathroom | Plumbing | 1st Floor - New Bathroom -Supply and install new water and waste line to main water supply and drainage at new locations. -Supply and install new wa | 1 UNIT | $8,800 per UNIT | 0.75 | $15,400.00 | 95
| 1st Floor - New Bathroom | Plumbing | 2nd Floor - Primary Bathroom -Supply and install new water and waste line to main water supply and drainage at existing locations. -Supply and insta | 1 UNIT | $8,800 per UNIT | 0.75 | $15,400.00 | 95
| 1st Floor - New Bathroom | Plumbing | 2nd Floor - Second Bathroom -Install shower fixtures at new locations. -Supply and install lead pan or PVC liner for the new shower area. *Plumbing | 1 UNIT | $8,800 per UNIT | 0.75 | $15,400.00 | 95
| 1st Floor - New Bathroom | Plumbing | 2nd Floor - New Laundry Room -Supply and install new water and waste line to main water supply and drainage at new locations. -Supply and install ne | 1 UNIT | $3,850 per UNIT | 0.75 | $6,737.50 | 95
Total | [6 empty] | $52,937.50
Waterproofing
| 1st Floor - New Bathroom | Waterproofing | 1st Floor - New Bathroom -Supply and Install new waterproofing membrane on bathroom walls and bathroom floor. | 1 UNIT | $1,900 per UNIT | 0.75 | $3,325.00 | 95
| 1st Floor - New Bathroom | Waterproofing | 2nd Floor - Primary Bathroom -Supply and Install new waterproofing membrane on bathroom walls and bathroom floor. | 1 UNIT | $1,900 per UNIT | 0.75 | $3,325.00 | 95
| 1st Floor - New Bathroom | Waterproofing | 2nd Floor - Second Bathroom -Supply and Install new waterproofing membrane on the new shower area. | 1 UNIT | $1,900 per UNIT | 0.75 | $3,325.00 | 95
| 1st Floor - New Bathroom | Waterproofing | 2nd Floor - New Laundry Room -Supply and Install new waterproofing membrane on new laundry room floor. | 1 UNIT | $1,900 per UNIT | 0.75 | $3,325.00 | 95
Total | [6 empty] | $13,300.00
Tile
| 1st Floor - New Bathroom | Tile floor installation | 1st Floor - New Bathroom -Prepare the subfloor, ensuring it is suitable for tile installation. -Installation of new floor tiles throughout the bathr | 1 UNIT | $2,000 per UNIT | 0.8 | $3,600.00 | 95
| 1st Floor - New Bathroom | Tile floor installation | 2nd Floor - Primary Bathroom -Prepare the subfloor, ensuring it is suitable for tile installation. -Installation of new floor tiles throughout the b | 1 UNIT | $2,000 per UNIT | 0.8 | $3,600.00 | 95
| 1st Floor - New Bathroom | Tile floor installation | 2nd Floor - Second Bathroom -Prepare the subfloor, ensuring it is suitable for tile installation. -Installation of new floor tiles on the new shower | 1 UNIT | $2,000 per UNIT | 0.8 | $3,600.00 | 95
| 1st Floor - New Bathroom | Tile wall installation | 1st Floor - New Bathroom -Installation of straight and plumb substrate for tile installation. -Install new tiles on bathroom walls. -Supply and app | 1 UNIT | $2,600 per UNIT | 0.8 | $4,680.00 | 95
| 1st Floor - New Bathroom | Tile wall installation | 2nd Floor - Primary Bathroom -Installation of straight and plumb substrate for tile installation. -Install new tiles on bathroom walls. -Supply and | 1 UNIT | $2,600 per UNIT | 0.8 | $4,680.00 | 95
| 1st Floor - New Bathroom | Tile wall installation | 2nd Floor - Second Bathroom -Installation of straight and plumb substrate for tile installation. -Install new tiles on bathroom walls on wet area. | 1 UNIT | $2,600 per UNIT | 0.8 | $4,680.00 | 95
Total | [6 empty] | $24,840.00
Accessories
| 1st Floor - New Bathroom | Accessory Installation | 1st Floor - New Bathroom -Install all finish accessories in the bathroom (vanities, medicine cabinets, towel bars, toilet paper holders, etc). *Fini | 1 UNIT | $2,000 per UNIT | 0.75 | $3,500.00 | 95
| 1st Floor - New Bathroom | Accessory Installation | 2nd Floor - Primary Bathroom -Install all finish accessories in the bathroom (vanities, medicine cabinets, towel bars, toilet paper holders, etc). * | 1 UNIT | $2,000 per UNIT | 0.75 | $3,500.00 | 95
Total | [6 empty] | $7,000.00
Concrete
| Exterior | Footing Construction | New Extension Area (Approx. 430 SF) -Excavate continuous and/or spread footings below frost depth throughout the new extension. -Furnish and install | 430 SF | $12 per SF | 0.75 | $9,030.00 | 95
| Exterior | Slab Edge Forms / Shallow Foundation Walls Construction | New Extension Area (Approx. 430 SF) -Furnish and install slab edge formwork or shallow stem walls around the perimeter of the slab-on-grade foundatio | 430 SF | $12 per SF | 0.75 | $9,030.00 | 95
| Exterior | Slab-on-Grade Construction | New Extension Area (Approx. 430 SF) -Prepare subgrade inside foundation perimeter by verifying compaction and elevation of granular base material. - | 430 SF | $12 per SF | 0.75 | $9,030.00 | 95
Total | [6 empty] | $27,090.00
Structural & Framing
| Exterior | 1st and 2nd Floor Extension Exterior Wall Construction | 1st & 2nd Floor New Exterior Wallֲ -Frame exterior walls with 2ֳ—6 studs at 16" OC including top and bottom plates, headers, window/door openings, e | 430 SF | $150 per SF | 0.75 | $112,875.00 | 95
| Exterior | New Roof Extension | New Roof Extension -Frame new walls using 2x6 wood studs, securely tied into existing rafters and ceiling joists. -Supply and install new rafters, r | 430 SF | $12 per SF | 0.75 | $9,030.00 | 95
Total | [6 empty] | $121,905.00
Siding & Exterior
| Exterior | Siding Installation | New Extension Area -Supply and install exterior wall siding to match the existing siding. -Include all siding accessories such as starter strips, J- | 600 SF | $8 per SF | 0.75 | $8,400.00 | 95
Total | [6 empty] | $8,400.00
Deck & Exterior
| Exterior | New Deck Extension | New Deck Extension (95 SF) -Extend the existing wood deck to align with the footprint of the new rear extension. -Match existing deck in height, des | 200 SF | $25 per SF | 0.75 | $8,750.00 | 95
Total | [6 empty] | $8,750.00
Roofing
| Exterior | New Roof Drainage | New Roof Drainage -Supply and install gutters and downspouts along roof edges. | 430 LF | $15 per LF | 0.75 | $11,287.50 | 95
Total | [6 empty] | $11,287.50
Windows
| Exterior | New Windows Installation | New Extension Areas -Installation of (9) new windows throughout the new extension areas. *Windows and Hardware not included | 5 UNIT | $1,200 per UNIT | 0.75 | $10,500.00 | 95
Total | [6 empty] | $10,500.00
Overall Subtotal | [6 empty] | $464,487.50
General Conditions (10%) | [6 empty] | $46,448.75
GRAND TOTAL | [6 empty] | $510,936.25