## Renovation Estimate
CHAPTER COST ONLY - NO MARKUPS
This estimate shows Chapter's base costs only, without any markups or general conditions.
All line items reflect the base cost before applying standard markups (75% for most items, 80% for tile work).
This version is provided for internal cost analysis and does not include General Conditions (10%).
For client-facing estimates with markups, please refer to: final_chapter_brand_estimate.xlsx
Section | Room | Item Name | Description | Quantity | Unit Cost | Markup | Total | Confidence
Backsplash
| Kitchen | Kitchen Backsplash | Install new tile backsplash. | 10 LF | $2,200 per LF | 0.00 | $2,200.00 | 90
Total | [6 empty] | $2,200.00
Bathroom Renovation
| Master Bathroom | Master Bathroom Modernization | Modernize master bathroom with new fixtures, tile, vanity, toilet. Push wall further if possible. Direct replacement of existing fixtures. | 1 UNIT | $7,700 per UNIT | 0.00 | $7,700.00 | 90
Total | [6 empty] | $7,700.00
Cabinetry & Storage
| Kitchen | Kitchen Cabinets Installation | Install new L-shaped kitchen cabinets. | 10 LF | $7,600 per UNIT | 0.00 | $7,600.00 | 95
| Kitchen | Kitchen Electrical | Rough electrical, lighting circuits, GFCI outlets, and under-cabinet lighting. | 1 UNIT | $3,500 per UNIT | 0.00 | $3,500.00 | 90
| Entry | Entry Closet Rebuild | Remove existing closet and rebuild with integrated bench/seat for putting on shoes, storage underneath, facing new direction. | 1 UNIT | $3,000 per UNIT | 0.00 | $3,000.00 | 90
| Bedroom | Bedroom Closet Addition | Add new closet in bedroom area. | 1 UNIT | $2,000 per UNIT | 0.00 | $2,000.00 | 90
Total | [6 empty] | $16,100.00
Countertops
| Kitchen | Kitchen Countertops | Install new countertops with special formula. | 45 SF | $97 per SF | 0.00 | $7,865.00 | 95
Total | [6 empty] | $7,865.00
Demolition
| Bathroom 1 | Bathroom Demolition | Remove old fixtures, tile, vanity, and flooring. | 60 SF | $2,200 per UNIT | 0.00 | $2,200.00 | 95
| Kitchen | Kitchen Demolition | Remove existing cabinets, countertops, appliances, and flooring. | 10 LF | $3,300 per LF | 0.00 | $3,300.00 | 95
Total | [6 empty] | $5,500.00
Doors & Windows
| Entire Apartment | Interior Door Replacement | Replace interior doors throughout apartment to make them closer together. | 4 UNIT | $500 per UNIT | 0.00 | $2,000.00 | 85
| Bedroom | Window Installation | Install large fixed pane window for lighting in bedroom area. | 1 UNIT | $2,000 per UNIT | 0.00 | $2,000.00 | 85
Total | [6 empty] | $4,000.00
Electrical
| Bathroom 1 | Bathroom Electrical | Install new vanity lighting, exhaust fan, and GFCI outlets. | 1 UNIT | $3,500 per UNIT | 0.00 | $3,500.00 | 90
| Bedroom | Bedroom Electrical | Install new outlets, switches, and light fixtures. | 1 UNIT | $3,500 per UNIT | 0.00 | $3,500.00 | 90
| Master Bathroom | Master Bathroom Electrical | Install new vanity lighting, exhaust fan, and GFCI outlets for master bathroom. | 1 UNIT | $3,500 per UNIT | 0.00 | $3,500.00 | 90
| Living Room | Living Room Lighting | Install 4 new recessed lights in living room area. | 4 UNIT | $300 per UNIT | 0.00 | $1,200.00 | 95
| Hallway | Hallway Lighting | Install 2 new recessed lights in hallway area. | 2 UNIT | $300 per UNIT | 0.00 | $600.00 | 95
Total | [6 empty] | $12,300.00
Flooring
| Bedroom | Bedroom Flooring | Install new hardwood flooring. | 64 SF | $6 per SF | 0.00 | $384.00 | 90
| Living Room | Living Room Flooring | Install new hardwood flooring for living room area. | 300 SF | $6 per SF | 0.00 | $1,800.00 | 90
| Hallway | Hallway Flooring | Install new hardwood flooring for hallway area. | 100 SF | $6 per SF | 0.00 | $600.00 | 90
| Entry | Entry Flooring | Install new hardwood flooring for entry area. | 50 SF | $6 per SF | 0.00 | $300.00 | 90
Total | [6 empty] | $3,084.00
General Requirements
| Entire Apartment | Post-Construction Cleaning | Comprehensive cleaning of all renovated areas. | 1 UNIT | $1,925 per UNIT | 0.00 | $1,925.00 | 95
Total | [6 empty] | $1,925.00
HVAC
| Entire Apartment | AC Split System Replacement | Replace existing PCAC system with new AC split system throughout apartment for better energy efficiency. | 1 UNIT | $8,000 per UNIT | 0.00 | $8,000.00 | 90
| Kitchen | Kitchen Ventilation Upgrade | Increase ventilation in kitchen area with upgraded exhaust system. | 1 UNIT | $1,500 per UNIT | 0.00 | $1,500.00 | 90
Total | [6 empty] | $9,500.00
Painting & Wall Coverings
| Bedroom | Bedroom Painting | Paint walls and ceiling. | 148 SF | $10.3 per SF | 0.00 | $1,524.86 | 90
| Living Room | Living Room Painting | Paint walls and ceiling in living room area. | 300 SF | $10.3 per SF | 0.00 | $3,087.86 | 90
| Hallway | Hallway Painting | Paint walls and ceiling in hallway area. | 100 SF | $10.3 per SF | 0.00 | $1,029.29 | 90
| Entry | Entry Painting | Paint walls and ceiling in entry area. | 50 SF | $10.3 per SF | 0.00 | $514.65 | 90
Total | [6 empty] | $6,156.66
Plumbing
| Bathroom 1 | Bathroom Plumbing | Full gut replacement for existing location. | 60 SF | $7,700 per UNIT | 0.00 | $7,700.00 | 90
| Kitchen | Kitchen Plumbing | Full gut plumbing for existing location with one sink. | 1 UNIT | $3,850 per UNIT | 0.00 | $3,850.00 | 90
Total | [6 empty] | $11,550.00
Structural
| Staircase | Floating Staircase | Remove existing staircase and rebuild with floating design, new floor, new railing (metal or glass), make narrower. Custom floating stairs with steel structure and wooden treads. | 1 UNIT | $17,142.86 per UNIT | 0.00 | $17,142.86 | 95
| Living Room | Storage Platform | Build storage platform connecting to staircase with storage underneath for couch area. | 1 UNIT | $3,000 per UNIT | 0.00 | $3,000.00 | 90
| Bedroom | Wall Relocation | Move wall to make bedroom bigger, relocate hallway wall. | 1 UNIT | $4,000 per UNIT | 0.00 | $4,000.00 | 85
Total | [6 empty] | $24,142.86
Tile
| Bathroom 1 | Bathroom Tile Work | Install new floor and wall tiles. | 60 SF | $2,600 per SF | 0.00 | $2,600.00 | 90
| Kitchen | Kitchen Flooring | Install new tile flooring. | 64 SF | $2,400 per 60-80 SF | 0.00 | $2,400.00 | 90
| Master Bathroom | Master Bathroom Tile Work | Install new floor and wall tiles for master bathroom modernization. | 60 SF | $2,600 per SF | 0.00 | $2,600.00 | 90
Total | [6 empty] | $7,600.00
Trims
| Living Room | Living Room Trim | Install new baseboards and crown molding. | 47 LF | $5 per LF | 0.00 | $235.00 | 90
| Bedroom | Bedroom Baseboards | Install new baseboards throughout bedroom area. | 50 LF | $5 per LF | 0.00 | $250.00 | 90
| Hallway | Hallway Baseboards | Install new baseboards throughout hallway area. | 30 LF | $5 per LF | 0.00 | $150.00 | 90
| Entry | Entry Baseboards | Install new baseboards throughout entry area. | 20 LF | $5 per LF | 0.00 | $100.00 | 90
Total | [6 empty] | $735.00
Overall Subtotal | [6 empty] | $120,358.52
General Conditions (10%) | [6 empty] | $12,035.85
GRAND TOTAL | [6 empty] | $132,394.37