## Estimate
Chapter – Construction Estimate ¦ Troiano Residence ¦ 2001 SW 13th St, Miami FL 33145
Category | Room | ItemName | Description | Quantity | UnitCost | Markup | MarkupType | Total | Confidence
Demolition
Demolition | Bathroom 1 | Demolition (DEMO-03) | Remove existing fixtures tile and flooring. Building A. | 1 UNIT | $2,200 per UNIT | 0.75 |  | 3850.00 | 90
Demolition | Kitchen | Demolition (DEMO-02) | Remove existing cabinets countertops appliances and flooring. Building A. | 1 UNIT | $3,300 per UNIT | 0.75 |  | 5775.00 | 90
Demolition | Building B | Demolition (DEMO-07) | Existing and demolition per plan D-01 D-02. Includes interior partitions millwork fixtures per legend. | 531 SF | $7 per SF | 0.75 |  | 6504.75 | 90
Demolition | Building A | Demolition (D-01) | Concrete walk to be removed per D-01. Roof removal in Structural & Roof allowance. | 1 LS | Allowance | 0.75 |  | 2625.00 | 85
18754.75
Plumbing
Plumbing | Bathroom 1 | Plumbing (PLMB-01) | Full gut replacement existing location. Clarify: primary bath in Building A or B per P-1.1/P-2.1. | 1 UNIT | $7,700 per UNIT | 0.75 |  | 13475.00 | 90
Plumbing | Kitchen | Plumbing (PLMB-09) | Full gut existing location 1 sink. Building A kitchen. | 1 UNIT | $3,850 per UNIT | 0.75 |  | 6737.50 | 90
Plumbing | Building B | Plumbing (allowance) | If Building B has separate full bath/kitchen per plan P-1.1 P-2.1 add scope; allowance for second bath/kitchen. | 1 LS | Allowance | 0.75 |  | 8750.00 | 75
28962.50
Waterproofing
Waterproofing | Bathroom 1 | Waterproofing (WATR-01) | Floors and walls 0-60 sf. Supply and install per master. | 1 UNIT | $1,900 per UNIT | 0.75 |  | 3325.00 | 90
3325.00
Electrical
Electrical | All areas | Electrical (ELEC-16) | Rewiring outlets and lighting per sq ft. 982 SF = Building A + B per E-1.1–E-1.3. Verify panel/riser per E-3.1. | 982 SF | $17 per SF | 0.75 |  | 29214.50 | 90
29214.50
Flooring
Flooring | Living Room | Flooring (FINSH-07) | Install new hardwood flooring. Building A. | 300 SF | $6 per SF | 0.75 |  | 3150.00 | 90
Flooring | Building B | Flooring (FINSH-07) | Install hardwood Building B interior. 502 SF to remain per area diagram. | 502 SF | $6 per SF | 0.75 |  | 5271.00 | 90
8421.00
Tile
Tile | Bathroom 1 | Tile (TILE-01 + TILE-02) | Bathroom walls and floors 0-60 sf. One full bath; add if second bath in Building B. | 1 UNIT | $4,600 labor per UNIT | 0.80 |  | 8280.00 | 90
8280.00
Painting & Wall Coverings
Painting & Wall Coverings | Living Room | Painting (FINSH-05) | Benjamin Moore regal select on floor area. Building A. | 300 SF | $10.50 per SF | 0.75 |  | 5512.50 | 90
Painting & Wall Coverings | Building B | Painting (FINSH-05) | Benjamin Moore regal select Building B. 502 SF per plan. | 502 SF | $10.50 per SF | 0.75 |  | 9230.25 | 90
14742.75
Cabinetry & Storage
Cabinetry & Storage | Kitchen | Cabinets (KITC-01) | Kitchen cabinets supply base and wall. Building A kitchen; 15 LF per plan. | 15 LF | $600 per LF | 0.75 |  | 15750.00 | 90
Cabinetry & Storage | Kitchen | Cabinet install (KITC-07) | Install kitchen cabinets 11-15 FT. Per master. | 1 UNIT | $9,200 per UNIT | 0.75 |  | 16100.00 | 90
31850.00
Countertops
Countertops | Kitchen | Countertop (STON-02 + KITC-02) | Quartz countertops fabricate and install. 45 SF kitchen. | 45 SF | $97 labor + $85 material per SF | 0.75 |  | 14332.50 | 90
14332.50
Backsplash
Backsplash | Kitchen | Tile Backsplash (TILE-11) | Tile backsplash 10 ft+ units. 30 SF = 3 units. | 3 UNIT | $2,200 per 10 SF | 0.80 |  | 11880.00 | 90
11880.00
Carpentry & Doors
Carpentry & Doors | Building A | Exterior doorways widen (DOOR-03 + CARP-01) | Widen two exterior doorways per plan A-06 D-01. Door remove opening resized per legend. | 2 EA | $825 door + framing | 0.75 |  | 4147.50 | 90
Carpentry & Doors | Carport | Garage enclosure (CARP-01 + CARP-02 + CARP-03) | Convert carport to enclosed garage per scope. Framing drywall ceiling; actual garage door and operator by sub (no master code). | 80 LF + 300 SF + 300 SF | Per master LF/SF | 0.75 |  | 15750.00 | 90
19897.50
Site Work & Exterior
Site Work & Exterior | Site | Concrete walkways driveway step pads | Reno'd driveway entry walk step pads per A-06 L-200. No master code; allowance. | 1 LS | Allowance | 0.75 |  | 14000.00 | 85
Site Work & Exterior | Site | Fencing | Per plan L-200. Note: Front fencing and columns BY OTHERS per plan; this line is site fencing in scope. | 1 LS | Allowance | 0.75 |  | 8750.00 | 85
22750.00
Pool & Water Features
Pool & Water Features | Site | New pool | In-ground pool per A-06 L-200. Separate permit per plan. No master code; allowance. | 1 LS | Allowance | 0.75 |  | 70000.00 | 85
Pool & Water Features | Site | New jacuzzi | Spa/hot tub per plan. Pool/jacuzzi under separate permit per general notes. | 1 LS | Allowance | 0.75 |  | 14000.00 | 85
84000.00
Landscaping
Landscaping | Site | Landscaping and water features | Planting beds sod irrigation tree disposition per L-100 L-200 L-220. No master code; allowance. | 1 LS | Allowance | 0.75 |  | 26250.00 | 85
26250.00
HVAC
HVAC | Addition | A/C area increase 425 SF (MISC-16) | 425 SF new A/C per scope. Split unit and compressor. Verify M-1.1–M-1.3 for multiple zones. | 1 UNIT | $16,250 per UNIT | 0.75 |  | 28437.50 | 90
28437.50
General Requirements
General Requirements | Entire Project | Post-Construction Cleaning (CLEN-04) | Clean and ready for occupancy per general notes. 1800-2500 sf tier. | 1 UNIT | $2,750 per UNIT | 0.75 |  | 4812.50 | 90
General Requirements | Entire Project | Permits and Fees (MISC-01) | GC to obtain all permits per plan. Excludes separate permits (pool fences driveway etc) per plan. | 1 LS | $1,500 per LS | 0.75 |  | 2625.00 | 90
General Requirements | Entire Project | Waste Removal (MISC-03) | Demo debris removal and dump fees per demolition notes. | 1 LS | $1,200 per LS | 0.75 |  | 2100.00 | 90
9537.50
Structural & Roof (per bid set)
Structural & Roof | Site/Structures | Structural and roof (S-1.0 S-2.0 S-2.1 D-01 D-02) | Foundation (S-1.0) floor framing (S-2.0) roof (S-2.1). Roof removal per D-01 D-02. No master code; sub quote. | 1 LS | Allowance | 0.75 |  | 50000.00 | 80
Structural & Roof | Site/Structures | Roof insulation (ICYNENE) | Provide ICYNENE under roof slab per general notes. No master code; allowance. | 1 LS | Allowance | 0.75 |  | 4375.00 | 80
54375.00
Fire Protection
Fire Protection | Project | Sprinklers (per plan) | GC to provide sprinkler shop drawings per notes. Verify if in contract. MISC-19 or sub. | 1 LS | Allowance | 0.75 |  | 3500.00 | 70
3500.00
Other / Clarifications
Other | Project | Termite pre-treatment | Per plan termite notes. Often owner or separate; clarify who provides. Not in master. | 1 LS | Note only | 0 |  | 0.00 | 70
0.00
461432.50
|  |  | General Conditions (10%) |  |  |  |  | 46143.25
|  |  | Grand Total |  |  |  |  | 507575.75