## Renovation Estimate
Section | Room | Item Name | Description | Quantity | Unit Cost | Markup | Total | Confidence
Attic Renovation
| Attic | New Staircase Installation | Install new staircase to attic. | 1 UNIT | $3,500 per UNIT | 0.75 | $6,125.00 | 85
| Attic | Attic Refinishing | Refinish attic including walls and floors. | 500 SF | $4 per SF | 0.75 | $3,500.00 | 85
Total | [6 empty] | $9,625.00
Doors
| Attic | Barn Door Installation | Install barn door in attic. | 1 UNIT | $1,320 per UNIT | 0.75 | $2,310.00 | 85
| First Floor | Sliding Door Installation | Replace window with sliding door on front balcony. | 1 UNIT | $1,500 per UNIT | 0.75 | $2,625.00 | 85
Total | [6 empty] | $4,935.00
Flooring
| First Floor | Hardwood Floor Installation | Install new hardwood flooring throughout the first floor. | 1000 SF | $6 per SF | 0.75 | $10,500.00 | 85
| Second Floor | Floor Installation | Install new flooring throughout the second floor. | 1000 SF | $6 per SF | 0.75 | $10,500.00 | 85
Total | [6 empty] | $21,000.00
Electrical
| Whole House | Electrical Rewiring | Rewire the whole house for better electrical organization. | 2046 SF | $17 per SF | 0.75 | $60,817.50 | 90
Total | [6 empty] | $60,817.50
Walls & Ceiling
| Whole House | Wall Patching and Painting | Patch and paint walls throughout the house. | 3000 SF | $10.3 per SF | 0.70 | $52,635.00 | 85
Total | [6 empty] | $52,635.00
Heating and Cooling
| Whole House | HVAC System Installation | Install HVAC system for two floors. | 1 UNIT | $16,500 per UNIT | 0.60 | $26,400.00 | 85
Total | [6 empty] | $26,400.00
Basement Renovation
| Basement | Crawl Space Closure | Close crawl space with concrete. | 1 UNIT | $2,500 per UNIT | 0.75 | $4,375.00 | 90
| Basement | Basement Refinishing | Refinish basement including walls and ceilings. | 500 SF | $4 per SF | 0.75 | $3,500.00 | 85
Total | [6 empty] | $7,875.00
Tile
| Basement | Tile Installation | Install tile flooring in basement. | 500 SF | $6 per SF | 0.80 | $5,400.00 | 85
| Bathroom 1 | Bathroom Tile Work | Floor tile preparation, installation, wall tile installation, shower tile, grout installation, and tile sealing. | 80 SF | $4,100 per 80 SF | 0.80 | $7,380.00 | 95
Total | [6 empty] | $12,780.00
Demolition
| Bathroom 1 | Bathroom Demolition | Full gut of bathroom including removal of old fixtures, tile, vanity, flooring, and debris removal. | 1 UNIT | $2,200 per UNIT | 0.75 | $3,850.00 | 95
| Kitchen | Kitchen Demolition | Full gut of kitchen including removal of cabinets, countertops, appliances, flooring, backsplash, electrical disconnection, plumbing disconnection, debris removal, and protection of adjacent areas. | 1 UNIT | $3,300 per UNIT | 0.75 | $5,775.00 | 95
| Bedroom 1 | Bedroom Flooring | Subfloor preparation, installation of hardwood flooring, transition strips, and closet flooring. | 387 SF | $6 per SF | 0.75 | $4,056.75 | 95
| Living Room | Living Room Flooring | Subfloor preparation, installation of hardwood flooring, refinishing, trim installation, and transition strips. | 200 SF | $6 per SF | 0.75 | $2,100.00 | 95
| Primary Bathroom | Full Gut Renovation | Full gut and renovation of primary bathroom. | 1 UNIT | $9,900 per UNIT | 0.75 | $17,325.00 | 90
| Secondary Bathroom | Full Gut Renovation | Full gut and renovation of secondary bathroom. | 1 UNIT | $8,800 per UNIT | 0.75 | $15,400.00 | 90
Total | [6 empty] | $48,506.75
Plumbing
| Bathroom 1 | Bathroom Plumbing | Full gut plumbing replacement for existing location, including rough plumbing, toilet installation, sink installation, shower/tub installation, supply lines, drain lines, and vent lines. | 1 UNIT | $7,700 per UNIT | 0.75 | $13,475.00 | 95
| Kitchen | Kitchen Plumbing | Full gut plumbing for existing location with 1 sink, including rough plumbing, kitchen sink installation, garbage disposal, water supply lines, drain lines, and shut-off valves. | 1 UNIT | $3,850 per UNIT | 0.75 | $6,737.50 | 95
Total | [6 empty] | $20,212.50
Cabinetry & Storage
| Kitchen | Kitchen Cabinets | Installation of standard kitchen cabinets up to 10 FT, including base and wall cabinets, crown molding, cabinet hardware, soft-close hinges, and drawer slides. | 1 UNIT | $7,600 per UNIT | 0.75 | $13,300.00 | 95
Total | [6 empty] | $13,300.00
Countertops
| Kitchen | Kitchen Countertops | Fabrication and installation of quartz countertops, including template creation, edge treatments, and sink cutouts. | 45 SF | $97 per SF | 0.75 | $13,763.75 | 95
Total | [6 empty] | $13,763.75
Backsplash
| Kitchen | Kitchen Backsplash | Tile preparation, installation, grout installation, tile sealing, and trim tiles for kitchen backsplash. | 10 FT | $2,200 per 10 FT | 0.80 | $3,960.00 | 95
Total | [6 empty] | $3,960.00
Painting & Wall Coverings
| Bedroom 1 | Bedroom Painting | Wall preparation, primer application, paint walls, paint ceiling, and closet painting. | 432 SF | $10.3 per SF | 0.75 | $7,788.00 | 95
| Living Room | Living Room Painting | Wall preparation, primer application, paint walls, paint ceiling, and touch-up work. | 400 SF | $10.3 per SF | 0.75 | $7,210.00 | 95
Total | [6 empty] | $14,998.00
Trims
| Bedroom 1 | Bedroom Trim | Baseboard installation, window casings, door casings, and closet trim. | 100 LF | $5 per LF | 0.75 | $875.00 | 95
| Living Room | Living Room Trim | Baseboard installation, crown molding, window casings, door casings, and quarter round. | 100 LF | $5 per LF | 0.75 | $875.00 | 95
Total | [6 empty] | $1,750.00
General Requirements
| Entire House | Commercial Cleaning | Post-construction cleaning for the entire house. | 1 UNIT | $2,750 per UNIT | 0.75 | $4,812.50 | 95
Total | [6 empty] | $4,812.50
Overall Subtotal | [6 empty] | $317,371.00
General Conditions (10%) | [6 empty] | $31,737.10
GRAND TOTAL | [6 empty] | $349,108.10