## Renovation Estimate
Section | Room | Item Name | Description | Quantity | Unit Cost | Markup | Total | Confidence
Demolition
| General | Pre-construction site preparation | Pre-construction site preparation -Protect and seal entry doors, grilles, and other openings at the house. -Set up zipper walls and containments to prevent dust from spreading to other areas as required by the construction scope of work. | 1 UNIT | $2,000.00 per UNIT | 0.00 | $2,000.00 | 95
| General | Demolition of existing structures | Existing House -Demolition and removal of existing siding, trim, and sheathing at the existing wall where the new extension will connect. -Demolition and removal of structural wall framing to create new opening for the new extension. -Demolition and removal of existing fireplace to create new opening for the new extension. -Demolition and removal of existing doors as per proposed plan. -Removal of existing windows as per proposed plan. -Demolition and removal of existing roof, overhangs, gutters, or eaves as needed for proper roof tie-in with the new extension. -Demolition and removal of existing partition walls throughout the house as per proposed plan. -Demolition and removal of existing hardwood flooring throughout the 1st floor. -Demolition and removal of existing baseboards throughout the 1st floor. *Debris removal and disposal included | 430 SF | $7.00 per SF | 0.00 | $3,010.00 | 95
| General | Demolition of existing structures | 1st Floor - Existing Powder Room -Demolition of powder room tiles, vanity, medicine cabinet, toilet, and fixtures. -Demolition and removal of plumbing water and waste lines. *Debris removal and disposal included | 1 UNIT | $1,375.00 per UNIT | 0.00 | $1,375.00 | 95
| General | Demolition of existing structures | 1st Floor - Existing Laundry Room -Demolition of tiles, shelves, cabinets, appliances, and fixtures. -Demolition and removal of plumbing water and waste lines. *Debris removal and disposal included | 1 UNIT | $2,200.00 per UNIT | 0.00 | $2,200.00 | 95
| General | Demolition of existing structures | 2nd Floor - Primary Bathroom -Demolition of bathroom tiles, vanity, medicine cabinet, toilet, and fixtures. -Demolition and removal of plumbing water and waste lines. *Debris removal and disposal included | 1 UNIT | $2,200.00 per UNIT | 0.00 | $2,200.00 | 95
| General | Demolition of existing structures | 2nd Floor - Second Bathroom -Demolition and removal of the tub. *Debris removal and disposal included | 1 UNIT | $1,375.00 per UNIT | 0.00 | $1,375.00 | 95
| General | Demolition of existing structures | 2nd Floor - Existing Walk-In Closet -Demolition of shelves, cabinets, and other millworks. -Demolition of wall substrates back to framing. *Debris removal and disposal included | 1 UNIT | $1,375.00 per UNIT | 0.00 | $1,375.00 | 95
| General | Excavation, grading, and backfilling | New Extension Area (Approx. 430 SF) -Strip and remove surface vegetation and topsoil within the new addition footprint. -Excavate to required subgrade elevation for slab-on-grade foundation, including trenches for footings. -Grade and level the building pad to ensure uniform bearing conditions and slab support. -Excavate utility trenches as needed for underslab plumbing and electrical rough-ins. -Place and compact fill material around the perimeter and over excavated areas as needed to establish proper grade. -Perform rough grading around the new structure to promote positive drainage away from the foundation. *Debris removal and disposal included | 1 UNIT | $2,000.00 per UNIT | 0.00 | $2,000.00 | 95
Total | [6 empty] | $15,535.00
Electrical
| General | Electrical | New Extension Area -Supply and install (10) new outlets throughout the new extension area as per code requirements at new locations. -Install (6) new light fixtures throughout the new extension area at new locations. -Supply and install (6) new switches throughout the new extension area at new locations. *Light fixtures not included *All electrical work to be done by a licensed insured electrician *Panel upgrade and replacement not included | 430 SF | $8.00 per SF | 0.00 | $3,440.00 | 95
| General | Electrical | 1st Floor - New Bathroom -Supply and install (1) new GFI outlet in the bathroom as per code requirements at new location. -Install (2) new light fixtures at new locations. -Supply and install (1) new switch at new location. *Light fixtures not included *All electrical work to be done by a licensed insured electrician *Panel upgrade and replacement not included | 1 UNIT | $3,500.00 per UNIT | 0.00 | $3,500.00 | 95
| General | Electrical | 2nd Floor - Primary Bathroom -Supply and install (2) new GFI outlet in the bathroom as per code requirements at existing location. -Install (2) new light fixtures at existing locations. -Supply and install (1) new switch at existing location. -Supply and install (1) new switch at a new location. *Light fixtures not included *All electrical work to be done by a licensed insured electrician *Panel upgrade and replacement not included | 1 UNIT | $3,500.00 per UNIT | 0.00 | $3,500.00 | 95
| General | Electrical | 2nd Floor - New Laundry Room -Supply and Install new dedicated lines for the washer dryer in the new laundry room at new locations. -Supply and Install (1) new GFI outlet in the new laundry room as per code requirements at new location. -Install (1) new light fixture at new location. -Supply and Install (1) new switch at new location. *Light fixtures not included *All electrical work to be done by a licensed insured electrician *Panel upgrade and replacement not included | 1 UNIT | $3,500.00 per UNIT | 0.00 | $3,500.00 | 95
Total | [6 empty] | $13,940.00
Drywall & Insulation
| General | New Interior Partition Walls Installation | 1st & 2nd Floor New Extension Area -Frame all interior partition walls with 2ֳ—4 studs at 16" OC, including top and bottom plates, blocking, and framing. -Supply and install all required structural hardware, bracing, and fire-blocking per code. -Supply and install drywall on both sides of all interior walls. *Tape, plaster, sand, and prepare walls to the above spaces to receive new finishes | 860 SF | $8.00 per SF | 0.00 | $6,880.00 | 95
| General | New Ceiling Installation | 1st & 2nd Floor New Extension Area -Supply and install ceiling framing using 2x8 or 2x10 joists at 16" on center as per code requirements. -Supply and install ceiling insulation to meet code requirements. -Supply and install drywall on new ceiling throughout the new extension area. *Tape, plaster, sand, and prepare ceiling to the above spaces to receive new finishes | 860 SF | $8.00 per SF | 0.00 | $6,880.00 | 95
| General | Mold Resistant Drywall Installation | 1st Floor - New Bathroom -Supply and Install water-resistant sheetrock on bathroom walls. *Tape, plaster, sand and prepare walls to the above spaces to receive new finishes | 1 UNIT | $1,225.00 per UNIT | 0.00 | $1,225.00 | 95
| General | Mold Resistant Drywall Installation | 2nd Floor - Primary Bathroom -Supply and Install water-resistant sheetrock on bathroom walls. *Tape, plaster, sand and prepare walls to the above spaces to receive new finishes | 1 UNIT | $1,225.00 per UNIT | 0.00 | $1,225.00 | 95
| General | Mold Resistant Drywall Installation | 2nd Floor - New Laundry Room -Supply and Install water-resistant sheetrock on new laundry room walls. *Tape, plaster, sand and prepare walls to the above spaces to receive new finishes | 1 UNIT | $1,225.00 per UNIT | 0.00 | $1,225.00 | 95
Total | [6 empty] | $17,435.00
Doors
| General | New Doors Installation | New Extension Area -Installation of (5) new standard interior doors, door frames, and door trims at new locations as per proposed plan. -Installation of (2) new sliding doors, door frames, and door trims at new locations as per proposed plan. -Installation of (1) new bifold double door, door frame, and door trim at new location as per proposed plan. *Doors and Hardware not included *Price based on Pre-hung Doors | 8 UNIT | $550.00 per UNIT | 0.00 | $4,400.00 | 95
Total | [6 empty] | $4,400.00
Flooring
| General | 2nd Floor Extension Flooring Installation | 2nd Floor New Extension Area -Supply and install engineered floor joist system throughout the new 2nd floor extension. -Supply and install all required structural connectors, joist hangers, and hardware as per code. -Supply and install new subflooring over new level floor joists. -Supply and install acoustic flooring underlayment throughout the new 2nd floor extension area. -Installation of new hardwood flooring throughout the new 2nd floor extension area. *Hardwood flooring material not included | 430 SF | $6.00 per SF | 0.00 | $2,580.00 | 95
| General | 1st Floor Extension Flooring Finish | 1st Floor New Extension Area -Supply and install vapor barrier on the slab on grade throughout the new 1st floor extension area. -Supply and install subflooring throughout the new 1st floor extension area. -Installation of hardwood flooring throughout the 1st floor, including the 1st floor new extension area. *Hardwood flooring material not included | 1050 SF | $6.00 per SF | 0.00 | $6,300.00 | 95
| General | Tile floor installation | 2nd Floor - New Laundry Room -Prepare the subfloor, ensuring it is suitable for tile installation. -Installation of new floor tiles throughout the new laundry room. -Supply and apply new grout. -*Tiles not included | 1 UNIT | $2,000.00 per UNIT | 0.00 | $2,000.00 | 95
Total | [6 empty] | $10,880.00
HVAC
| General | New HVAC System Installation | New Extension Area -Supply and install one new HVAC system to serve the first floor, and the basement. -Supply and install R-8 insulated ductwork to all new and reassigned areas for HVAC work. -Supply and install programmable thermostat for new zone. -Supply and install new air handler, condenser, electrical disconnects, wiring, and condensate drain. -Provide mechanical ventilation or conditioned air to sealed crawlspace if applicable. -Reconfigure the existing HVAC system to provide dedicated heating and cooling for the second floor only. *If the architect requires any additional work, it will be subject to an additional cost. | 1 UNIT | $12,000.00 per UNIT | 0.00 | $12,000.00 | 95
Total | [6 empty] | $12,000.00
Trims
| General | New Baseboards Installation | New Extension Area -Supply and install new baseboards throughout the 1st floor, including the 1st floor new extension area. -Supply and install new baseboards on the 2nd floor new extension area. *Baseboard material allowance of $3 per LF | 300 LF | $11.00 per LF | 0.00 | $3,300.00 | 95
| General | New Crown Moldings Installation | New Extension Area -Supply and install new crown moldings throughout the new 1st and 2nd floor extension area to match the existing.ֲ *Crown molding material allowance of $6 per LF | 860 LF | $17.00 per LF | 0.00 | $14,620.00 | 95
Total | [6 empty] | $17,920.00
Painting & Wall Coverings
| General | Painting | General Areas -Supply and apply 1 coat of primer and 2 coats of paint on walls, ceiling, frames, and doors throughout the house, including the basement and new extension areas. *Benjamin Moore regal select | 3000 SF | $4.50 per SF | 0.00 | $13,500.00 | 95
Total | [6 empty] | $13,500.00
Interior Design Services
| General | Interior Design Fee | Comprehensive design and material specification services, including finishes, fixtures, and element selections, as well as final renderings and construction drawings as per design scope. Comprehensive design and material specification services, including finishes, fixtures, and element selections, as well as final renderings and construction drawings as per design scope. | 1 UNIT | $5,000.00 per UNIT | 0.00 | $5,000.00 | 95
Total | [6 empty] | $5,000.00
Plumbing
| 1st Floor - New Bathroom | Plumbing | 1st Floor - New Bathroom -Supply and install new water and waste line to main water supply and drainage at new locations. -Supply and install new water and waste rough-in for sink at new locations. -Install toilet, sink, faucet, and shower fixtures at new locations. -Supply and install lead pan or PVC liner for the new shower area. -Install new shut-off valves. -Supply and install fireproofing at all floor and wall penetrations. *Plumbing fixtures and finishes are not included *All plumbing work to be done by a licensed insured plumber *Includes pipe insulation on all waterlines | 1 UNIT | $8,800.00 per UNIT | 0.00 | $8,800.00 | 95
| 1st Floor - New Bathroom | Plumbing | 2nd Floor - Primary Bathroom -Supply and install new water and waste line to main water supply and drainage at existing locations. -Supply and install new water and waste rough-in for sink at existing locations. -Install toilet, sink, faucet, and shower fixtures at existing locations. -Supply and install lead pan or PVC liner for the new shower area. -Install new shut-off valves. -Supply and install fireproofing at all floor and wall penetrations. *Plumbing fixtures and finishes are not included *All plumbing work to be done by a licensed insured plumber *Includes pipe insulation on all waterlines *Toilet waste rough-in or lead bend replacement not included | 1 UNIT | $8,800.00 per UNIT | 0.00 | $8,800.00 | 95
| 1st Floor - New Bathroom | Plumbing | 2nd Floor - Second Bathroom -Install shower fixtures at new locations. -Supply and install lead pan or PVC liner for the new shower area. *Plumbing fixtures and finishes are not included *All plumbing work to be done by a licensed insured plumber | 1 UNIT | $8,800.00 per UNIT | 0.00 | $8,800.00 | 95
| 1st Floor - New Bathroom | Plumbing | 2nd Floor - New Laundry Room -Supply and install new water and waste line to main water supply and drainage at new locations. -Supply and install new water and waste rough-in for the washer dryer at new locations. -Install new washer and dryer at new location. -Supply and Install drain pan for the washer dryer. -Supply and install shutoff valves. -Supply and install fireproofing at all floor and wall penetrations. *Plumbing fixtures and finishes are not included *All plumbing work to be done by a licensed insured plumber *Includes pipe insulation on all waterlines | 1 UNIT | $3,850.00 per UNIT | 0.00 | $3,850.00 | 95
Total | [6 empty] | $30,250.00
Waterproofing
| 1st Floor - New Bathroom | Waterproofing | 1st Floor - New Bathroom -Supply and Install new waterproofing membrane on bathroom walls and bathroom floor. | 1 UNIT | $1,900.00 per UNIT | 0.00 | $1,900.00 | 95
| 1st Floor - New Bathroom | Waterproofing | 2nd Floor - Primary Bathroom -Supply and Install new waterproofing membrane on bathroom walls and bathroom floor. | 1 UNIT | $1,900.00 per UNIT | 0.00 | $1,900.00 | 95
| 1st Floor - New Bathroom | Waterproofing | 2nd Floor - Second Bathroom -Supply and Install new waterproofing membrane on the new shower area. | 1 UNIT | $1,900.00 per UNIT | 0.00 | $1,900.00 | 95
| 1st Floor - New Bathroom | Waterproofing | 2nd Floor - New Laundry Room -Supply and Install new waterproofing membrane on new laundry room floor. | 1 UNIT | $1,900.00 per UNIT | 0.00 | $1,900.00 | 95
Total | [6 empty] | $7,600.00
Tile
| 1st Floor - New Bathroom | Tile floor installation | 1st Floor - New Bathroom -Prepare the subfloor, ensuring it is suitable for tile installation. -Installation of new floor tiles throughout the bathroom. -Supply and apply new grout. *Tiles and saddles are not included | 1 UNIT | $2,000.00 per UNIT | 0.00 | $2,000.00 | 95
| 1st Floor - New Bathroom | Tile floor installation | 2nd Floor - Primary Bathroom -Prepare the subfloor, ensuring it is suitable for tile installation. -Installation of new floor tiles throughout the bathroom. -Supply and apply new grout. *Tiles and saddles are not included | 1 UNIT | $2,000.00 per UNIT | 0.00 | $2,000.00 | 95
| 1st Floor - New Bathroom | Tile floor installation | 2nd Floor - Second Bathroom -Prepare the subfloor, ensuring it is suitable for tile installation. -Installation of new floor tiles on the new shower area. -Supply and apply new grout. *Tiles and saddles are not included | 1 UNIT | $2,000.00 per UNIT | 0.00 | $2,000.00 | 95
| 1st Floor - New Bathroom | Tile wall installation | 1st Floor - New Bathroom -Installation of straight and plumb substrate for tile installation. -Install new tiles on bathroom walls. -Supply and apply new grout. *Tiles not included | 1 UNIT | $2,600.00 per UNIT | 0.00 | $2,600.00 | 95
| 1st Floor - New Bathroom | Tile wall installation | 2nd Floor - Primary Bathroom -Installation of straight and plumb substrate for tile installation. -Install new tiles on bathroom walls. -Supply and apply new grout. *Tiles not included | 1 UNIT | $2,600.00 per UNIT | 0.00 | $2,600.00 | 95
| 1st Floor - New Bathroom | Tile wall installation | 2nd Floor - Second Bathroom -Installation of straight and plumb substrate for tile installation. -Install new tiles on bathroom walls on wet area. -Supply and apply new grout. *Tiles not included | 1 UNIT | $2,600.00 per UNIT | 0.00 | $2,600.00 | 95
Total | [6 empty] | $13,800.00
Accessories
| 1st Floor - New Bathroom | Accessory Installation | 1st Floor - New Bathroom -Install all finish accessories in the bathroom (vanities, medicine cabinets, towel bars, toilet paper holders, etc). *Finishes and accessories are not included | 1 UNIT | $2,000.00 per UNIT | 0.00 | $2,000.00 | 95
| 1st Floor - New Bathroom | Accessory Installation | 2nd Floor - Primary Bathroom -Install all finish accessories in the bathroom (vanities, medicine cabinets, towel bars, toilet paper holders, etc). *Finishes and accessories are not included | 1 UNIT | $2,000.00 per UNIT | 0.00 | $2,000.00 | 95
Total | [6 empty] | $4,000.00
Concrete
| Exterior | Footing Construction | New Extension Area (Approx. 430 SF) -Excavate continuous and/or spread footings below frost depth throughout the new extension. -Furnish and install formwork for footings as required for accurate dimensions and alignment. -Supply and install rebars including longitudinal bars, stirrups, and dowels into foundation walls or slab edge forms. -Supply and place ready-mix concrete in footings with proper consolidation and finishing. -Supply and install anchor bolts, hold-downs, or embedded hardware as required for structural connections. -Ensure footing elevations are set to receive slab edge forms and maintain level bearing surfaces. -Strip formwork and clean up footing areas after concrete has cured sufficiently. | 430 SF | $12.00 per SF | 0.00 | $5,160.00 | 95
| Exterior | Slab Edge Forms / Shallow Foundation Walls Construction | New Extension Area (Approx. 430 SF) -Furnish and install slab edge formwork or shallow stem walls around the perimeter of the slab-on-grade foundation. -Form edge heights to align with finished slab elevation and maintain proper step-downs. -Supply and install reinforcement (horizontal rebar and vertical dowels from footings). -Provide form ties, corners, and control joints as required for structural integrity. -Supply, pour, and finish concrete for slab edges or shallow foundation walls. -Supply and install anchor bolts or embedded hardware into top of walls to secure future wall framing. -Strip forms after curing and clean work area. | 430 SF | $12.00 per SF | 0.00 | $5,160.00 | 95
| Exterior | Slab-on-Grade Construction | New Extension Area (Approx. 430 SF) -Prepare subgrade inside foundation perimeter by verifying compaction and elevation of granular base material. -Supply and install a minimum 4" thick compacted crushed stone or gravel base across the entire slab area. -Supply and install 6 mil polyethylene vapor barrier over the stone base, properly lapped and sealed at seams. -Furnish and place slab reinforcement (e.g., welded wire mesh or rebar) per structural design. -Provide sleeves and block-outs for underslab plumbing, electrical, and mechanical penetrations. -Supply, pour, and finish 4" thick reinforced concrete slab with hand-trowel or power-float finish, per specifications. | 430 SF | $12.00 per SF | 0.00 | $5,160.00 | 95
Total | [6 empty] | $15,480.00
Structural & Framing
| Exterior | 1st and 2nd Floor Extension Exterior Wall Construction | 1st & 2nd Floor New Exterior Wallֲ -Frame exterior walls with 2ֳ—6 studs at 16" OC including top and bottom plates, headers, window/door openings, etc. -Supply and install OSB or plywood wall sheathing and apply weather-resistive barrier with flashing at all openings. -Insulate exterior wall cavities with R-21 batt insulation and seal all joints, penetrations, and framing gaps per energy code. -Supply and install drywall on interior face of all exterior walls to Level 4 finish, ready for paint. | 430 SF | $150.00 per SF | 0.00 | $64,500.00 | 95
| Exterior | New Roof Extension | New Roof Extension -Frame new walls using 2x6 wood studs, securely tied into existing rafters and ceiling joists. -Supply and install new rafters, ridge beam, jack rafters, and ties as required for structural support. -Sheath walls and roof with exterior-grade plywood or OSB. -Supply and install roof sheathing over the entire roof area with exterior-grade plywood or OSB. -Supply and install synthetic underlayment membrane over all roof surfaces for weather protection. -Flash and trim connections, roof edges, and penetrations with metal flashing as required. -Supply and install roof insulation within the dormer wall and roof cavities per code. | 430 SF | $12.00 per SF | 0.00 | $5,160.00 | 95
Total | [6 empty] | $69,660.00
Siding & Exterior
| Exterior | Siding Installation | New Extension Area -Supply and install exterior wall siding to match the existing siding. -Include all siding accessories such as starter strips, J-channels, utility trim, and finish strips. -Cut and fit siding neatly around all window and door openings, and utility penetrations. | 600 SF | $8.00 per SF | 0.00 | $4,800.00 | 95
Total | [6 empty] | $4,800.00
Deck & Exterior
| Exterior | New Deck Extension | New Deck Extension (95 SF) -Extend the existing wood deck to align with the footprint of the new rear extension. -Match existing deck in height, design, materials, and railing style unless otherwise specified. -Supply and install new concrete footings sized and spaced as per code requirements. -Frame with pressure-treated lumber (2x8 or 2x10 joists at 16" on center). -Supply and install new ledger board to extension wall with proper flashing and structural attachment. -Supply and install new decking boards to match existing (pressure-treated wood or composite). -Extend or replace guardrails and stairs as needed to meet current code and match existing layout. -Provide all required structural hardware (joist hangers, post anchors, lag bolts, etc.). | 200 SF | $25.00 per SF | 0.00 | $5,000.00 | 95
Total | [6 empty] | $5,000.00
Roofing
| Exterior | New Roof Drainage | New Roof Drainage -Supply and install gutters and downspouts along roof edges. | 430 LF | $15.00 per LF | 0.00 | $6,450.00 | 95
Total | [6 empty] | $6,450.00
Windows
| Exterior | New Windows Installation | New Extension Areas -Installation of (9) new windows throughout the new extension areas. *Windows and Hardware not included | 5 UNIT | $1,200.00 per UNIT | 0.00 | $6,000.00 | 95
Total | [6 empty] | $6,000.00
Overall Subtotal | [6 empty] | $273,650.00
General Conditions (10%) | [6 empty] | $27,365.00
GRAND TOTAL | [6 empty] | $301,015.00