## Renovation Estimate
Section | Room | Item Name | Description | Quantity | Unit Cost | Markup | Total | Confidence
Backsplash
| Kitchen | Kitchen Backsplash | Install tile backsplash. | 20 SF | $2,200 | 0.8 | $3,960.00 | 90.0
Total | [6 empty] | $3,960.00
Cabinetry & Storage
| Kitchen | Kitchen Electrical | Install rough electrical, kitchen lighting circuits, under-cabinet lighting, GFCI outlets, switches, and panel upgrades. | 1 UNIT | $3,500 | 0.75 | $6,125.00 | 95.0
| Kitchen | Kitchen Cabinets | Supply and install semi-custom kitchen cabinets. | 20 LF | $850 | 0.75 | $29,750.00 | 90.0
| Downstairs Bedroom | Walk-in closet construction | Remove wall and construct walk-in closet for downstairs bedroom. | 1 UNIT | $3,500 per UNIT | 0.75 | $6,125.00 | 90.0
Total | [6 empty] | $42,000.00
Countertops
| Kitchen | Kitchen Countertops | Fabricate and install quartz countertops. | 45 SF | $97 | 0.75 | $13,763.75 | 90.0
Total | [6 empty] | $13,763.75
Demolition
| Bathroom 1 | Bathroom Demolition | Remove old fixtures, tile, vanity, and flooring. Debris removal. | 1 UNIT | $3,300 | 0.75 | $5,775.00 | 95.0
| Downstairs | Pantry to bedroom conversion | Remove pantry walls and convert to bedroom. | 1 UNIT | $2,200 per UNIT | 0.75 | $3,850.00 | 90.0
Total | [6 empty] | $9,625.00
Electrical
| Bathroom 1 | Bathroom Electrical | Install rough electrical, vanity lighting, exhaust fan, GFCI outlets, and switches. | 1 UNIT | $3,500 | 0.75 | $6,125.00 | 95.0
| Bedroom 1 | Bedroom Electrical | Install outlets, switches, and light fixtures. | 1 UNIT | $3,500 | 0.75 | $6,125.00 | 90.0
| Extension Bathroom | Bathroom electrical | Install electrical for new bathroom in extension. | 1 UNIT | $3,500 per UNIT | 0.75 | $6,125.00 | 95.0
Total | [6 empty] | $18,375.00
Flooring
| Kitchen | Kitchen Flooring | Install new wood flooring. | 220 SF | $6 | 0.75 | $2,310.00 | 90.0
| Bedroom 1 | Bedroom Flooring | Install new wood flooring. | 110 SF | $6 | 0.75 | $1,155.00 | 90.0
| Downstairs Extension | Tile flooring installation | Install tile flooring in downstairs extension area. | 500 SF | $8 per SF | 0.75 | $7,000.00 | 90.0
Total | [6 empty] | $10,465.00
General Requirements
| Entire House | Commercial Cleaning | Post-construction cleaning of all renovated areas. | 1 UNIT | $2,750 | 0.75 | $4,812.50 | 95.0
Total | [6 empty] | $4,812.50
Painting & Wall Coverings
| Bedroom 1 | Bedroom Painting | Prepare and paint walls and ceiling. | 110 SF | $10.3 | 0.75 | $1,983.75 | 90.0
Total | [6 empty] | $1,983.75
Plumbing
| Bathroom 1 | Bathroom Plumbing | Install rough plumbing, toilet, sink, shower/tub, supply lines, and drain lines. | 1 UNIT | $9,900 | 0.75 | $17,325.00 | 95.0
| Kitchen | Kitchen Plumbing | Install rough plumbing, kitchen sink, garbage disposal, water supply lines, drain lines, and shut-off valves. | 1 UNIT | $3,850 | 0.75 | $6,737.50 | 95.0
| Kitchen | Kitchen Demolition | Remove existing cabinets, countertops, appliances, flooring, and backsplash. Disconnect electrical and plumbing. Debris removal and disposal. | 1 UNIT | $3,300 | 0.75 | $5,775.00 | 95.0
| Downstairs Bathroom | Bathroom expansion | Expand existing downstairs bathroom to make it bigger. | 1 UNIT | $4,400 per UNIT | 0.75 | $7,700.00 | 90.0
| Extension Bathroom | New bathroom installation | Install new bathroom in extension area with rough plumbing, fixtures, and connections. | 1 UNIT | $9,900 per UNIT | 0.75 | $17,325.00 | 95.0
Total | [6 empty] | $54,862.50
Roofing
| Extension | Roof installation for extension | Install new roof for extension area. | 500 SF | $15 per SF | 0.75 | $13,125.00 | 95.0
Total | [6 empty] | $13,125.00
Structural
| Extension | Two-floor extension construction | Structural framing, foundation, walls, insulation, and construction for two-floor extension (upstairs and downstairs rooms). | 1000 SF | $157.14 per SF | 0.75 | $275,000.00 | 90.0
| Living Room | Living room expansion | Structural work to make living room bigger as part of extension. | 200 SF | $50 per SF | 0.75 | $17,500.00 | 85.0
Total | [6 empty] | $292,500.00
Tile
| Bathroom 1 | Bathroom Tile Work | Install floor and wall tiles, grout, and seal tiles. | 100 SF | $4,100 | 0.8 | $7,380.00 | 90.0
| Extension Bathroom | Bathroom tile work | Install floor and wall tiles for new bathroom in extension. | 100 SF | $4,100 per UNIT | 0.8 | $7,380.00 | 90.0
Total | [6 empty] | $14,760.00
Trims
| Bedroom 1 | Bedroom Trim | Install baseboards, window casings, and door casings. | 50 LF | $5 | 0.75 | $437.50 | 90.0
Total | [6 empty] | $437.50
Overall Subtotal | [6 empty] | $480,670.00
General Conditions (10%) | [6 empty] | $48,067.00
GRAND TOTAL | [6 empty] | $528,737.00